## COA
CERTIFICATE OF ANALYSIS
| CERTIFICATE No: |  | CAN/2016/
PRODUCT: | ZINNAT TM TABLETS 250 mg |  |  | REF NO: NDQA201509331
DATE RECEIVED | LABELCLAIM | Each tablet contains 250 mg Cefuroxime as Cefuroxime Axetil.
29.09.2015
BATCH No. C668355 | PRESENTATION | White coloured, caplet shaped, biconvex faced tablets, embossed 'GX ES7' on one face and plain on the other, packed in an aluminium foil blister of 10 tablets in a unit box.
MFG. DATE | MANUFACTURER | GLAXO Operations UK Limited
Jan. 2014
EXP. DATE: | ADDRESS | Bernard Castle UNITED KINGDOM.
Jan. 2017
CLIENT REF NO | CLIENT | Pharmacy and Poisons Board P.O. Box 27663-00506 Nairobi, KENYA
-
- | TEST(S) REQUESTED | Uniformity of Weight, Identification, Dissolution & Assay
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
Uniformity of Weight | Weight | BP 2016 Vol. V App XII C | NMT 2 tablets deviate by more than 5% from mean tablet weight | None Deviates | COMPLIES
Identification | HPLC | USP 38 NF 33 Page 2708 | RT of the component peaks in the assay sample preparation correspond to those in the assay standard preparation | Super-imposable peaks at RT 13.1 and 15.1 -/+ 10% min. present in both the assay sample and standard preparations | COMPLIES
Dissolution | UV | USP 38 NF 33 Page 2708 | 15 min run No tablet less than 65% [n=6] 45 min run No tablet less than 80% [n=6] | 88% (RSD=5.5%, n=6) 97% (RSD=2.6%, n=6) | COMPLIES COMPLIES
Assay | HPLC | USP 38 NF 33 Page 2708 | 90.0 - 110.0% | 94.9% (RSD=1.2%, n=9) | COMPLIES
CONCLUSION : | The sample complies with the specifications for the tests performed.
ANALYST: | DR. J. CHEPCHUMBA |  | DATE: 09-02-2016
ANALYST: | DR. M. KWENA |  | DATE: 04-04-2016
DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE: 04-20-2016