## COA
CERTIFICATE OF ANALYSIS
| CERTIFICATE No: |  | CAN/2016/
PRODUCT: | ALIMOX DRY SYRUP |  |  | REF NO: NDQA201509339
DATE RECEIVED | LABELCLAIM | Each 5 mL of reconsitituted suspension contains Amoxycillin trihydrate B.P. equivalent to 125 mg of Amoxycillin.
29.09.2015
BATCH No. 00518AMS | PRESENTATION | White coloured, free flowing, flavoured powder for reconstitution into oral suspension packed in a 100 mL white plastic bottle contained in a unit box.
MFG. DATE | MANUFACTURER | SPHINX Pharmaceuticals Ltd.
Jun. 2013
EXP. DATE: | ADDRESS | Old Airport North Rd, Embakasi, P.O. Box 69512-00400, Nairobi, KENYA.
May 2016
CLIENT REF NO | CLIENT | Pharmacy and Poisons Board P.O. Box 27663-00506 Nairobi, KENYA
-
- | TEST(S) REQUESTED | Microbial Load, Identification, Assay & Acidity/Alkalinity
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
Microbial Load | Plate Count | BP 2016 Vol. V App. XVI B | Total Aerobic Microbial Count (TAMC) NMT 200 CFU/mL Total Combined Yeasts /Moulds Count (TYMC) NMT 20 CFU/mL | < 10 CFU / mL < 10 CFU / mL | COMPLIES COMPLIES
Identification | HPLC | USP 38 NF 32 Page 2224 | RT of the major peak in the assay sample preparation corresponds to that in the assay standard preparation | Super-imposable peak at RT 5.3 -/+ 10% min. present in both the assay sample and standard preparations | COMPLIES COMPLIES
Assay | HPLC | USP 38 NF 32 Page 2224 | 90.0 - 120.0% | Day 1 101.5% (RSD=1.7%, n=8) Day 7 93.6% (RSD=1.72%, n=9) | COMPLIES COMPLIES
Acidity/Alkalinity | pH | USP 38 NF 32 Page 2224 | 5.0 - 7.5 | 6.1 | COMPLIES
CONCLUSION : | The sample complies with the specifications for the tests performed.
ANALYST: | MR. F. NAULA |  | DATE: 10-13-2015
ANALYST: | DR. E. MUTUA |  | DATE: 12-21-2015
ANALYST: | DR. G. WANG'ANG'A |  | DATE: 02-16-2016
ANALYST: | EMMANUEL TANUI |  | DATE: 06-08-2016
DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE: 06-14-2016