## COA
CERTIFICATE OF ANALYSIS
| CERTIFICATE No: |  | CAN/2016/
PRODUCT: | UNITRIM SUSPENSION |  |  | REF NO: NDQA201509366
DATE RECEIVED | LABELCLAIM | Formula: Trimethoprim BP 40 mg, Sulphamethoxazole BP 200 mg, Colour, Flavour, Excipients and syrup base to 5 mL. Excipients and Syrup Base to 5 mL.
29.09.2015
BATCH No. 141504 | PRESENTATION | Pink coloured, viscous suspension for oral administration, contained in a 100 mL amber coloured glass bottle, packed along with a 10 mL graduated plastic measuring cap in a unit box.
MFG. DATE | MANUFACTURER | REGAL Pharmaceuticals Ltd.
Sep. 2014
EXP. DATE: | ADDRESS | Plot No.7879/18, Off Baba Dogo Road, Ruaraka, P.O BOX 44421-00100, Nairobi, KENYA.
Aug. 2017
CLIENT REF NO | CLIENT | Pharmacy and Poisons Board P.O. Box 27663-00506 Nairobi, KENYA
-
COT/03/13/03/2015/147 | TEST(S) REQUESTED | Microbial Load, Identification, Assay & Acidity/Alkalinity
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
Microbial Load | Plate Count | Total Aerobic Microbial Count (TAMC) 200 CFU/mL Total Combined Yeasts /Moulds Count (TYMC) 20 CFU/mL | 200 TAMC CFU Per mL < 20 TYMC CFU Per mL BP 2013 Vol. V App. XVIB | < 10 TAMC CFU Per mL < 10 TYMC CFU Per mL | COMPLIES
Identification | HPLC | USP 38 NF 33 Vol.3 Page 5397 | RT of the component Peaks in the assay sample preparation correspond to those in the assay standard preparation | Super-imposable peak at RT 3.2 and 6.1 -/+ 10% min. present in both the assay sample and standard preparations | COMPLIES
Assay | HPLC | USP 38 NF 33 Vol.3 Page 5397 | 90.0 - 110.0% | Sulphamethoxazole 97.4% (RSD = 1.4%, n=9) Trimethoprim 93.4% (RSD = 1.5%, n=9) | COMPLIES COMPLIES
Acidity/Alkalinity | pH | USP 38 NF 33 Vol.3 Page 5397 | 5.0 - 6.5 | 5.8 | COMPLIES
CONCLUSION : | The sample complies with the specifications of the tests performed.
ANALYST: | MR. F. NAULA |  | DATE: 28-12-2015
ANALYST: | DR. J. CHEPCHUMBA |  | DATE: 28-12-2015
ANALYST: | DR. M. KWENA |  | DATE: 28-12-2015
ANALYST: | ERNEST MBAE |  | DATE: 12-29-2015
DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE: 01-14-2016