## COA
CERTIFICATE OF ANALYSIS
| CERTIFICATE No: |  | CAN/2015/
PRODUCT: | LABESTEN |  |  | REF NO: NDQB201504160
DATE RECEIVED | LABELCLAIM | Contains:Clotrimazole Bp 1% w/w
2015-04-07
BATCH No. 63698 | PRESENTATION | ffw
MFG. DATE | MANUFACTURER | LABORATORY AND ALLIED LTD
1970-01-01
EXP. DATE: | ADDRESS | P.O. BOX 42875 NAIROBI
1970-01-01
CLIENT REF NO | CLIENT | KEMSA P.O. BOX 47715-00100, NAIROBI
-
- | TEST(S) REQUESTED | Microbial Load, Identification & Assay
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
Microbial Load
Identification |  |  | RT of the major peak in the assay sample preparation corresponds to that in the assay standard preparation |  | COMPLIES
Assay | HPLC | USP 2015 Vol 11 pg 2909 | 90 - 110.0% | Clotrimazole 94.46%(RSD = 1.18% ; n = 9)
CONCLUSION : | The sample complies with the specifications of the tests perfomed.
DATE:
The sample complies with the specifications of the tests perfomed.