## COA
CERTIFICATE OF ANALYSIS
| CERTIFICATE No: |  | CAN/2016/
PRODUCT: | TENOFOVIR DISOPROXIL FUMARATE/ LAMIVUDINE/ EFAVIRENZ TABLETS 300 mg/ 300 mg/ 600 mg |  |  | REF NO: NDQB201601679
DATE RECEIVED | LABELCLAIM | Each film coated tablet contains: Tenofovir disoproxil fumarate 300 mg, Lamivudine USP 300 mg, Efavirenz USP 600 mg.
26.01.2016
BATCH No. 3036408 | PRESENTATION | Off white coloured, caplet shaped, biconvex faced tablets, embossed 'M112' on one face and plain on the other, packed in a white plastic multidose container carrying 30 tablets in a unit box.
MFG. DATE | MANUFACTURER | MYLAN Laboratories Limited.
Feb. 2015
EXP. DATE: | ADDRESS | F-4 & F-12, MIDC, Malegaon, Sinnar, Nashik - 422 113, Maharashtra, INDIA.
Jan. 2017
CLIENT REF NO | CLIENT | Kenya Medical Supplies Authority, P.O. Box 47715 - 00100, Nairobi, KENYA
-
- | TEST(S) REQUESTED | Uniformity of Weight, Identification, Dissolution & Assay
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
Uniformity of Weight | Weight | BP 2016 Vol. V App XII C | NMT 2 tablets deviate by more than 5% from mean tablets weight | None Deviates | COMPLIES
Identification | HPLC | Adopted In-House Method | RT of the component peaks in the assay sample preparation correspond to those in the assay standard preparation | Super-imposable peaks at RT 4.3, 16.4 and 25.3 -/+ 10% min. present in both the assay sample and standard preparations | COMPLIES
Dissolution | HPLC | Adopted In-House Method | No tablet less than 80.0% (n=6) | Efavirenz 93.2% (RSD=2.6%; n=6) Lamivudine 94.0% (RSD=0.7%; n=6) Tenofovir disoproxil fumarate 89.3% (RSD=4.8%; n=6) | COMPLIES COMPLIES COMPLIES
Assay | HPLC | Adopted In-House Method | 90.0 - 110.0 % | Efavirenz 99.8% (RSD=0.6%; n=9) Lamivudine 97.6% (RSD=1.4%; n=9) Tenofovir disoproxil fumarate 92.8% (RSD=2.0%; n=9) | COMPLIES COMPLIES COMPLIES
CONCLUSION : | The sample complies with the specifications for the tests performed.
ANALYST: | DR. S. MWANGI |  | DATE: 29-02-2016
ANALYST: | DR. G. WANG'ANG'A |  | DATE: 02-03-2016
ANALYST: | NICHOLAS MWAURA |  | DATE: 03-03-2016