## COA
CERTIFICATE OF ANALYSIS
| CERTIFICATE No: |  | CAN/2016/
PRODUCT: | EFAVIRENZ 600 mg, LAMIVUDINE 300 mg AND TENOFOVIR DISOPROXIL FUMARATE 300 mg TABLETS |  |  | REF NO: NDQB201601681
DATE RECEIVED | LABELCLAIM | Each film-coated tablet contains: Efavirenz 600 mg, Lamivudine USP 300 mg, Tenofovir disoproxil fumarate 300 mg equivalent to Tenofovir disoproxil 245 mg.
26.01.2016
BATCH No. EISA15003-A | PRESENTATION | Off white coloured, ovoid-shaped, biconvex faced tablets, embossed '91' on one face and 'I' on the other, packed in a white plastic multi-dose container carrying 30 tablets in a unit box.
MFG. DATE | MANUFACTURER | Aurobindo Pharma Limited.
Jan. 2015
EXP. DATE: | ADDRESS | Unit-VII, SEZ, APIIC, Plot. No.S1, S.No's: 411, 425, 434, 435 & 458, Green Industrial Park, Polepally Village, Andhra Pradesh, INDIA.
Dec. 2016
CLIENT REF NO | CLIENT | Kenya Medical Supplies Authority, P.O. Box 47715 - 00100, Nairobi, KENYA
-
- | TEST(S) REQUESTED | Uniformity of Weight, Identification, Dissolution & Assay
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
Uniformity of Weight | Weigt | BP 2016 Vol. V App XII C | NMT 2 tablets deviate by more than 5% from mean tablets weight | None Deviates | COMPLIES
Identification | HPLC | Adopted In-House Method | RT of the component peaks in the assay sample preparation correspond to those in the assay standard preparation | Super-imposable peaks at RT 4.3, 16.4 and 25.3 -/+ 10% min. present in both the assay sample and standard preparations | COMPLIES
Dissolution | HPLC | Adopted In-House Method | No tablet less than 80.0% (n=6) | Efavirenz 94.8% (RSD=0.7%; n=6) Lamivudine 99.9% (RSD=0.6%; n=6) Tenofovir disoproxil fumarate 91.7% (RSD=2.2%; n=6) | COMPLIES COMPLIES COMPLIES
Assay | HPLC | Adopted In-House Method | 90.0 - 110.0 % | Efavirenz 96.5% (RSD=0.7%; n=9) Lamivudine 102.0% (RSD=1.3%; n=9) Tenofovir disoproxil fumarate 90.7% (RSD=1.5%; n=9) | COMPLIES COMPLIES COMPLIES
CONCLUSION : | The sample complies with the specifications for the tests performed.
ANALYST: | DR. S. MWANGI |  | DATE: 29-02-2016
ANALYST: | DR. G. WANG'ANG'A |  | DATE: 02-03-2016
ANALYST: | NICHOLAS MWAURA |  | DATE: 03-03-2016
DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE: 03-07-2016