## COA
CERTIFICATE OF ANALYSIS
| CERTIFICATE No: |  | CAN/2016/
PRODUCT: | TENOFOVIR DISOPROXIL FUMARATE/ LAMIVUDINE/ EFAVIRENZ TABLETS 300 mg/300 mg/ 600 mg |  |  | REF NO: NDQB201601712
DATE RECEIVED | LABELCLAIM | Each film coated tablet contains: Tenofovir disoproxil fumarate 300 mg, Lamivudine USP 300 mg and Efavirenz USP 600 mg.
26.01.2016
BATCH No. 3029684 | PRESENTATION | Off white coloured, caplet-shaped, biconvex faced tablets, embossed 'M 152' on one face and plain on the other, packed in a white plastic multi-dose container carrying 30 tablets in a unit box.
MFG. DATE | MANUFACTURER | MYLAN Laboratories Limited.
Aug. 2014
EXP. DATE: | ADDRESS | F - 4 & F - 12, MIDC, Malegaon, Sinnar, Nashik - 422 113, Maharashtra, INDIA.
Jul. 2016
CLIENT REF NO | CLIENT | Kenya Medical Supplies Authority, P.O. Box 47715 - 00100, Nairobi, KENYA
-
- | TEST(S) REQUESTED | Uniformity of Weight, Identification, Dissolution & Assay
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
Uniformity of Weight | Weight | BP 2016 Vol. V App XII C | NMT 2 tablets deviate by more than 5% from mean tablet weight | None Deviates | COMPLIES
Identification | HPLC | Adopted In-House Method | RT of the Component Peaks in the assay sample preparation correspond to those in the assay standard preparation | Super-imposable peaks at RT 4.2; 16.4; 25.3 -/+ 10% min. present in both the assay sample and standard preparations | COMPLIES
Dissolution | HPLC | Adopted In-House Method | No tablet less than 80.0% (n=6) | Efavirenz 94.3% (RSD=2.7%, n=6) Lamivudine 94.5% (RSD=0.9%, n=6) Tenofovir disoproxil fumarate 90.3% (RSD=4.8%, n=6) | COMPLIES COMPLIES COMPLIES
Assay | HPLC | Adopted In-House Method | 90.0 - 110.0% | Efavirenz 96.9% (RSD=0.5%, n=9) Lamivudine 97.0% (RSD=0.4%, n=6) Tenofovir disoproxil fumarate 97.2% (RSD=1.4%, n=9) | COMPLIES COMPLIES COMPLIES
CONCLUSION : | The sample complies with the specifications for the tests performed.
ANALYST: | DR. L. WANGARI |  | DATE: 01-03-2016
ANALYST: | DR. E. TANUI |  | DATE: 04-03-2016
ANALYST: | ERNEST MBAE |  | DATE: 03-10-2016
DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE: 03-15-2016