## COA
CERTIFICATE OF ANALYSIS
| CERTIFICATE No: |  | CAN/2016/
PRODUCT: | TENOFOVIR DISOPROXIL FUMARATE/ LAMIVUDINE/ EFAVIRENZ TABLETS 300 mg/300 mg/600 mg |  |  | REF NO: NDQB201603806
DATE RECEIVED | LABELCLAIM | Each film coated tablet contains: Tenofovir disoproxil fumarate 300 mg, Lamivudine USP 300 mg, Efavirenz 600 mg.
15.03.2016
BATCH No. 3038919 | PRESENTATION | Off white coloured, caplet-shaped, biconvex faced tablets, embossed 'M 152' on one face and plain on the other, packed in a white plastic multidose container carrying 30 tablets in a unit box.
MFG. DATE | MANUFACTURER | MYLAN Laboratories Limited.
Apr. 2015
EXP. DATE: | ADDRESS | F-4 & F-12, MIDC, Malegaon, Sinnar, Nashik - 422 113, Maharashtra, INDIA.
Mar. 2017
CLIENT REF NO | CLIENT | Kenya Medical Supplies Authority, P.O. Box 47715 - 00100, Nairobi, KENYA
-
- | TEST(S) REQUESTED | Uniformity of Weight, Identification, Dissolution & Assay
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
Uniformity of Weight | Weight | BP 2016 Vol. V App. XII C | NMT 2 tablets deviate by more than 5% from mean tablet weight | None Deviates | COMPLIES
Identification | HPLC | Adopted In-House Method | RT of the component peaks in the sample preparation correspond to those in the standard preparation | Super-imposable peaks at RT; 5.5, 15.2, 21.9 -/+ 10% min. present in both the assay sample and standard preparations | COMPLIES
Dissolution | HPLC | Adopted In-House Method | No tablet less than 80%[n=6] No tablet less than 85%[n=6] | Efavirenz 100.4% (RSD=1.40%; n=6) Lamivudine 105.2% (RSD=3.8%; n=6) Tenofovir Disoproxil Fumarate 99.9% (RSD=1.9%; n=6) | COMPLIES COMPLIES COMPLIES
Assay | HPLC | Adopted In-House Method | 90.0 - 110.0% | Efavirenz 98.5% (RSD=1.4%; n=9) Lamivudine 101.9% (RSD=1.6%;n=6) Tenofovir Disoproxil Fumarate 99.1% (RSD=1.9%; n=9) | COMPLIES COMPLIES COMPLIES
CONCLUSION : | The sample complies with the specifications for the tests performed.
ANALYST: | MR. M. SANGALE |  | DATE: 08-06-2016
ANALYST: | DR. G. WANG'ANG'A |  | DATE: 08-06-2016
ANALYST: | EMMANUEL TANUI |  | DATE: 06-08-2016
DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE: 06-13-2016