## COA
CERTIFICATE OF ANALYSIS
| CERTIFICATE No: |  | CAN/2016/
PRODUCT: | EFAVIRENZ 600MG, LAMIVUDINE 300MG AND TENOFOVIR DISOPROXIL FUMARATE 300MG TABLETS |  |  | REF NO: NDQB201604869
DATE RECEIVED | LABELCLAIM | Each film coated tablet contains 600 mg of Efavirenz USP, 300 mg of Lamivudine USP and 300 mg of Tenofovir Disoproxil Fumarate, which is equivalent to 245 mg of Tenofovir Disoproxil.
2016-04-19
BATCH No. E151915 | PRESENTATION | Beige coloured, caplet-shaped, biconvex faced tablets, embossed '127' on one face and 'I' on the other, packed in a white plastic multidose container carrying 30 tablets in a unit box.
MFG. DATE | MANUFACTURER | HETERO Labs Limited.
Dec. 2015
EXP. DATE: | ADDRESS | 22-110, I.D.A., Jeedimetla, Hyderabad - 500 055, INDIA.
Nov. 2017
CLIENT REF NO | CLIENT | Kenya Medical Supplies Authority, P.O. Box 47715 - 00100, Nairobi, KENYA
-
- | TEST(S) REQUESTED | Uniformity of Weight, Identification, Dissolution & Assay
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
Uniformity of Weight | Weight | BP 2016 Vol. V App XII C | NMT 2 tablets deviate by more than 5% from mean tablet weight | None Deviates | COMPLIES
Identification | HPLC | Adopted In-House Method | RT of the Component Peaks in the assay sample preparation correspond to those in the assay standard preparation | Super-imposable peaks at RT 5.4, 15.1 and 21.9 ± 10% min. present in both the assay sample and standard preparations | COMPLIES
Dissolution | HPLC | Adopted In-House Method | After 30 Mins | Lamivudine 101.6% (RSD=3.3%; n=6) Efavirenz 96.2% (RSD=3.5%; n=6) Tenofovir Disoproxil Fumarate 98.8% (RSD=4.5%; n=6) | COMPLIES COMPLIES COMPLIES
Assay | HPLC | Adopted In-House Method | 90.0% - 110.0% | Lamivudine 101.9% (RSD=1.5%; n=9) Efavirenz 97.7% (RSD=1.4%, n=9) Tenofovir Disoproxil Fumarate 100.2% (RSD=1.5%; n=9) | COMPLIES COMPLIES COMPLIES
CONCLUSION : | The sample complies with the specifications of the tests performed.
ANALYST: | MICHAEL SANGALE |  | DATE: 04-20-2016
ANALYST: | EMMANUEL TANUI |  | DATE: 05-25-2016
The sample complies with the specifications of the tests performed.