## COA
CERTIFICATE OF ANALYSIS
| CERTIFICATE No: |  | CAN/2016/
PRODUCT: | LAMIVUDINE 300 mg and TENOFOVIR DISOPROXIL FUMARATE 300 mg TABLETS |  |  | REF NO: NDQB201604881
DATE RECEIVED | LABELCLAIM | Each film coated tablet contains Tenofovir disoproxil fumarate 300 mg equivalent to Tenofovir disoproxil 245 mg and Lamivudine USP 300 mg.
26.04.2016
BATCH No. ELC4632A | PRESENTATION | Off white coloured, caplet-shaped, biconvex faced tablets, embossed 'CL 71' on one face and plain on the other face, packed in a white plastic multidose container carrying 30 tablets in a unit box.
MFG. DATE | MANUFACTURER | MACLEODS Pharmaceuticals Ltd.
Feb. 2016
EXP. DATE: | ADDRESS | Plot No. 25-27, Survey No. 366, Premier Ind. Estate, Kachigam, Daman - 396 210 (U.T.) Off.: Atlanta Arcade, Marol Church Road, Andheri (E), Mumbai - 400 059, INDIA.
Jan. 2018
CLIENT REF NO | CLIENT | Kenya Medical Supplies Authority, P.O. Box 47715 - 00100, Nairobi, KENYA
-
- | TEST(S) REQUESTED | Uniformity of Weight, Identification, Dissolution & Assay
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
Uniformity of Weight | Weight | BP 2016 Vol. V App XII C | NMT 2 tablets deviate by more than 5% from mean tablet weight | None Deviates | COMPLIES
Identification | HPLC | Adopted In-House Method | RT of the component peaks in the assay sample preparation correspond to those in the assay standard preparation | Super-imposable peaks at RT 2.9 and 6.3 -/+ 10% min. present in both the assay sample and standard preparations | COMPLIES
Dissolution | HPLC | Adopted In-House Method | No tablet less than 80% [n=6] | Lamivudine 99.1% (RSD=0.4%, n=6) Tenofovir Disoproxil Fumarate 97.9% (RSD=0.8%, n=6) | COMPLIES COMPLIES
Assay | HPLC | Adopted In-House Method | 90.0% - 110.0% | Lamivudine 99.1% (RSD=0.5%,n=9 ) Tenofovir Disoproxil Fumarate 96.7% (RSD=0.3%, n=9) | COMPLIES COMPLIES
CONCLUSION : | The sample complies with the specifications for the tests performed.
ANALYST: | DR. E. MUTUA |  | DATE: 18-05-2016
ANALYST: | DR. G. WANG'ANG'A |  | DATE: 26-05-2016
ANALYST: | EMMANUEL TANUI |  | DATE: 05-31-2016