## COA
CERTIFICATE OF ANALYSIS
| CERTIFICATE No: |  | CAN/2016/
PRODUCT: | TENOFOVIR DISOPROXIL FUMARATE and LAMIVUDINE TABLETS 300 mg/300 mg |  |  | REF NO: NDQB201605922
DATE RECEIVED | LABELCLAIM | Each film coated tablet contains: Tenofovir disoproxil fumarate 300 mg equivalent to Tenofovir disoproxil 245 mg and Lamivudine USP 300 mg.
12.05.2016
BATCH No. E160438 | PRESENTATION | Light blue coloured, caplet-shaped, biconvex faced tablets, embossed '129' on one face and 'H' on the other, packed in a white plastic multidose container carrying 30 tablts in a unit box.
MFG. DATE | MANUFACTURER | HETERO Labs Limited.
Mar. 2016
EXP. DATE: | ADDRESS | 22 - 110, I.D.A., Jeedimetla, Hyderabad - 500 055, INDIA.
Feb. 2018
CLIENT REF NO | CLIENT | Kenya Medical Supplies Authority, P.O. Box 47715 - 00100, Nairobi, KENYA
-
- | TEST(S) REQUESTED | Uniformity of Weight, Identification, Dissolution & Assay
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
Uniformity of Weight | Weight | BP 2016 Vol. V App XII C | NMT 2 tablets deviate by more than 5% from mean tablet weight | None Deviates | COMPLIES
Identification | HPLC | Adopted In-House Method | RT of the component peaks in the assay sample preparation correspond to those in the assay standard preparation | Super-imposable peaks at RT 2.9 and 6.3 -/+ 10% min. present in both the assay sample and standard preparations | COMPLIES
Dissolution | HPLC | Adopted In-House Method | No tablet less than 80% [n=6] | Lamivudine 99.9% (RSD=0.4%, n=6) Tenofovir Disoproxil Fumarate 98.3% (RSD=0.3% n=6) | COMPLIES COMPLIES
Assay | HPLC | Adopted In-House Method | 90.0% - 110.0% | Lamivudine 100.5% (RSD=0.6%, n=9) Tenofovir Disoproxil Fumarate 97.0% (RSD=0.7%, n=9) | COMPLIES COMPLIES
CONCLUSION : | The sample complies with the specifications for the tests performed.
ANALYST: | DR. E. MUTUA |  | DATE: 18-05-2016
ANALYST: | DR. G. WANG'ANG'A |  | DATE: 26-05-2016
ANALYST: | EMMANUEL TANUI |  | DATE: 05-31-2016
DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE: 06-08-2016