## COA
CERTIFICATE OF ANALYSIS
| CERTIFICATE No: |  | CAN/2015/
PRODUCT: | Celebib 100mg |  |  | REF NO: NDQD201406547
DATE RECEIVED | LABELCLAIM | Each capsules contains Celecoxib USP 100mg
2014-06-18
BATCH No. TDR(1801)094 | PRESENTATION | ffw
MFG. DATE | MANUFACTURER | MACLEODS Pharmaceuticals Ltd.
01-Apr-2014
EXP. DATE: | ADDRESS | Village Theda, PO Lodhimajra, Tehsil Baddi, Dist. Solan, Himachal Pradesh, India - 174101, Off.: At
31-Mar-2016
CLIENT REF NO | CLIENT | Macleods Pharmaceuticals Ltd co Sai Pharmaceuticals Limited PO Box 66551-00800 Nairob
-
- | TEST(S) REQUESTED | Uniformity of Weight, Identification, Dissolution & Assay
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
Uniformity of Weight | Weight | B.P. 2012 Vol .V App XII C | <= 2 tablets deviate by more than x% from mean weight | None Deviates | COMPLIES
Identification | HPLC | Manufacturer''s MOA 1227 | RT of the major peaks in the sample preparation corresponds to those in the standard preparation | Super-imposable peaks at RT Values 4.5 ÃƒÆ’Ã¢â‚¬Å¡Ãƒâ€šÃ‚Â± 10% min. present in the sample preparation | COMPLIES
Dissolution | HPLC | moa 1227 | After 45 Min - No tablet is less than 80 % | celecoxib 96.84% (RSD = 0.35% ; n = 9) | COMPLIES
Assay | HPLC | moa 1227 | 90-110% | celecoxib 93.57%(RSD = 3.23% ; n = 6) | COMPLIES
CONCLUSION : | The sample complies with the specifications of the tests perfomed.
ANALYST | LORNA WANGARI |  | DATE: 09-22-2014
ANALYST: | DR SERAH MUTERU |  | DATE: 09-30-2014
ANALYST: | ERNEST MBAE |  | DATE: 09-30-2014