## COA
CERTIFICATE OF ANALYSIS
| CERTIFICATE No: |  | CAN/2015/
PRODUCT: | B-BACT OINTMENT |  |  | REF NO: NDQD201410907
DATE RECEIVED | LABELCLAIM | Composition Mupirocin U.S.P. 2% w/w in a water soluble base qs.
08.10.2014
BATCH No. Q47 | PRESENTATION | Off white coloured ointment for topical application contained in a 5 g, white coloured collapsible aluminium tube in a unit box.
MFG. DATE | MANUFACTURER | WALLACE Pharmaceuticals PVT Ltd.
Aug. 2014
EXP. DATE: | ADDRESS | Plot No. 2-9 Bethora Ind. Est, Bethora Ponda, Goa - 403 409, INDIA.
Feb. 2016
CLIENT REF NO | CLIENT | CCL Pharmaceuticals Ltd co Harleys Ltd P.o Box 42718-00100 Nairobi
-
- | TEST(S) REQUESTED | Microbial Load, Identification & Assay
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
Microbial Load | Plate count | BP 2013 Vol. V App. XVIB | Total Aerobic Total Aerobic Microbial Count (TAMC) < 100 CFU/g Total Combined Yeasts /Moulds Count (TYMC) < 10 CFU/g | < 200 TAMC CFU/g < 20 TAMC CFU/g | COMPLIES COMPLIES
Identification | HPLC | USP 38 NF 33 Vol.3 Page 4463 | RT of the major peak in the assay sample preparation corresponds to that in the assay standard preparation | Super-imposable peak at RT 12.0 +/- 10% min. present in both the assay sample and standard preparations | COMPLIES
Assay | HPLC | USP 38 NF 33 Vol.3 Page 4463 | 90.0 - 110.0% | 99.7% (RSD=0.2%; n=9) | COMPLIES
CONCLUSION : | The sample complies with the specifications of the tests performed.
ANALYST: | MR. D. MOENGA |  | DATE: 13-11-2015
ANALYST: | DR. N. MWAURA |  | DATE: 18-11-2015
ANALYST: | NICHOLAS MWAURA |  | DATE: 11-23-2015
DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE: 11-25-2015