## COA
CERTIFICATE OF ANALYSIS
| CERTIFICATE No: |  | CAN/2015/355
PRODUCT: | SITAMET TABLETS |  |  | REF NO: NDQD201410914
DATE RECEIVED | LABELCLAIM | Sitagliptin 50mg (as phosphate monohydrate) Metformin HCL USP 1000mg
2014-10-28
BATCH No. LT97 | PRESENTATION
MFG. DATE | MANUFACTURER | CCL Pharmaceuticals pvt Ltd
2014-06-01
EXP. DATE: | ADDRESS | 62-industrial Estate,Kot Lakhpat,Lahore
2016-05-31
CLIENT REF NO | CLIENT | CCL Pharmaceuticals Ltd co Harleys Ltd P.o Box 42718-00100 Nairobi
-
- | TEST(S) REQUESTED | Uniformity of Weight, Identification, Dissolution & Assay
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
Uniformity of Weight |  | B.P. 2012 Vol .V App XII C | NMT 2 tablets deviate by more than 5% from mean weight
Identification |  |  | 0 | RT of the major peak in the assay sample preparation corresponds to that in the assay standard preparation
Dissolution | HPLC HPLC HPLC | MOA 1310 | After 30 Mins | Sitagliptin 102.68%(RSD = 1.28% ; n = 9) Metformin HCl 93.86%(RSD = 1.16% ; n = 9)
Assay | HPLC HPLC HPLC | MOA 1310 | 90.0 to 110.0 | Sitagliptin 96.22%(RSD = 0.2% ; n = 6) Metformin HCl 89.83%(RSD = 0.29% ; n = 6)
CONCLUSION : | The sample complies with the specifications of the tests perfomed.
ANALYST: | MICHAEL SANGALE |  | DATE: 12-02-2014
ANALYST: | GEORGE WANG'ANG'A |  | DATE: 04-20-2015
The sample complies with the specifications of the tests perfomed.