## COA
CERTIFICATE OF ANALYSIS
| CERTIFICATE No: |  | CAN/2015/474
PRODUCT: | ETORIX 120 MG Tablets |  |  | REF NO: NDQD201501003
DATE RECEIVED | LABELCLAIM | Etoricoxib 120mg per Tablet
2015-01-20
BATCH No. 4017 | PRESENTATION | in an 100ml amber colored bottle
MFG. DATE | MANUFACTURER | Eskayef Bangladesh Ltd
2014-08-01
EXP. DATE: | ADDRESS | Gazipur
2017-08-31
CLIENT REF NO | CLIENT | Umoja Pharmaceuticals Ltd P.O. Box 29787 - 00202, Nairobi
-
- | TEST(S) REQUESTED | Uniformity of Weight, Identification, Dissolution & Assay
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
Uniformity of Weight |  | MOA | 90-110.0
Identification | HPLC |  | RT of the major peaks in the sample preparation corresponds to those in the standard preparation | Super-imposable peaks at RT Values; -/+ x% min. present in the sample preparation
Dissolution | UV | 1374 | After 45 Mins | Etoricoxib 97.79%(RSD = 0.54% ; n = 6)
Assay | HPLC | 1374 | 90-110 | Etoricoxib 100.4%(RSD = 0.27% ; n = 9)
CONCLUSION : | The sample complies with the specifications of the tests perfomed.
ANALYST: | BEATRICE MUTISYA |  | DATE: 02-16-2015
ANALYST: | GEORGE WANG'ANG'A |  | DATE: 04-08-2015
The sample complies with the specifications of the tests perfomed.