## COA
CERTIFICATE OF ANALYSIS
| CERTIFICATE No: |  | CAN/2015/
PRODUCT: | MYCLAV POWDER FOR ORAL SUSPENSION 228.5 mg /5 mL |  |  | REF NO: NDQD201501039
DATE RECEIVED | LABELCLAIM | Each 5 mL after reconstitution contains Amoxicillin Trihydrate USP equivalent to Amoxicillin 200 mg, Potassium Clavulanate diluted Ph. Eur. equivalent to Clavulanic Acid 28.5 mg.
20.01.2015
BATCH No. BMPM14001 | PRESENTATION | Off white coloured, free flowing powder for reconstitution into suspension for oral administration, contained in a 100 mL clear glass bottle, packed along with 10 mL translucent graduated measuring cup in a unit box.
MFG. DATE | MANUFACTURER | UNICHEM Laboratories Ltd.
Jul. 2014
EXP. DATE: | ADDRESS | Village Bhatauli Kalan, Baddi,Dist. Solan (H.P.) - 173 205, INDIA.
Jun. 2016
CLIENT REF NO | CLIENT | Europa Healthcare Limited P.O. Box 6654 - 00800, Nairobi, KENYA
-
- | TEST(S) REQUESTED | Microbial Load, Identification, Assay & Acidity/Alkalinity
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
Microbial Load | Plate Count | B.P. 2012 Vol. V App. XVI B | Total Aerobic Microbial Count (TAMC) NMT 200 CFU/mL Total Combined Yeasts/ Moulds Count (TYMC) NMT 20 CFU/mL | TAMC < 200 CFU/mL TYMC < 20 CFU/mL | COMPLIES
Identification | HPLC | U.S.P. 38 N.F. 33 Vol. 2 Page 2226 | RT of the component peaks in the assay sample preparation correspond to those in the assay standard preparation | Super-imposable peaks at RT 3.6 and 5.6 +/- 10% min. present in both the assay sample and standard preparations | COMPLIES
Assay | HPLC | U.S.P. 38 N.F. 33 Vol. 2 Page 2226 | Freshly Reconstituted; Amoxicillin 90.0 - 120.0% Freshly Reconstituted; Clavulanate 90.0 - 125.0% 7 Days After Reconstitution; Amoxicillin 90.0 - 120.0% 7 Days After Reconstitution; Clavulanate 90.0 - 125.0% | 97.0%, (n=9; RSD=1.3%), 103.9% (n=6; RSD=1.8%), 99.4% (n=6; RSD=1.1%) 95.9% (n=9; RSD=0.2%) | COMPLIES COMPLIES COMPLIES COMPLIES
Acidity/Alkalinity | pH | U.S.P. 38 N.F. 33 Vol. 2 Page 2226 | 3.8 - 6.6 | 5 | COMPLIES
CONCLUSION : | The sample complies with the specifications of the tests perfomed.
ANALYST: | DR . E. TANUI |  | DATE: 06-26-2015
ANALYST: | DR. L. KARANJA |  | DATE: 16-10-2015
REVIEWER: | DR. R. MANANI |  | DATE: 28-10-2015
ANALYST: | NICHOLAS MWAURA |  | DATE: 11-03-2015
DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE: 11-06-2015