## COA
CERTIFICATE OF ANALYSIS
| CERTIFICATE No: |  | CAN/2016/
PRODUCT: | HAEMOGLOW SYRUP |  |  | REF NO: NDQD201501047
DATE RECEIVED | LABELCLAIM | Each 15 mL contains; Ferrous Gluconate BP 300 mg, Thiamine Mononitrate BP 5 mg, Riboflavin BP 5 mg, Pyridoxine Hydrochloride BP 1.5 mg, Niacinamide BP 45 mg, Cyanocobalamin(Vitamin B12)BP 15 mcg & Flavoured Syrup base q.s.
27.01.2015
BATCH No. FK155 | PRESENTATION | Brown coloured syrup for oral administration, contained in a 200 mL amber coloured plastic bottle in a unit box.
MFG. DATE | MANUFACTURER | FINECURE Pharmaceuticals Ltd.
Oct. 2014
EXP. DATE: | ADDRESS | Shimla Pistaur, Malsa Road, Kichha, Udhamsingh Nagar, Uttarakhand - 263148, INDIA.
Dec. 2015
CLIENT REF NO | CLIENT | Jos Hansen & Soehne E.A. Ltd, Nairobi, KENYA.
-
- | TEST(S) REQUESTED | Microbial Load, Identification, Assay & Acidity/Alkalinity
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
Microbial Load | Plate Count | BP 2012 Vol. V App. XVI B | Use the old format, this sample was analysed in march 2015 | Use the old format, this sample was analysed in march 2015 | COMPLIES
Identification | UV HPLC | Ferrous Gluconate; Manufacturer's In-house Method USP 38 NF 33 Vol.4 Page 6313 | Ferrous Gluconate; UV absorption spectra of the sample assay exhibits maxima at wavelength 525 nm corresponding to that in the assay standard preparation. RT of the component Peaks in the assay sample preparation correspond to those in the assay standard preparation | UV absorption spectra exhibited maxima at wavelength 525 nm in both the assay sample and standard preparations. Super-imposable peak at RT; 4.2, 6.2, 9.4 and 15.2 minÃ‚Â± 10% present in the both the assay sample and standard preparations. | COMPLIES
Assay | UV HPLC | USP 38 NF 33 Vol.4 Page 6313-6315 | Ferrous Gluconate 90.0 - 110.0% 90.0 - 150.0% | Ferrous Gluconate; 90.4% (RSD = 1.6%; n = 9) Niacinamide; 108.7% (RSD = 0.5%; n = 9) Pyridoxine HCl; 125.4% (RSD = 0.6%; n = 9) Thiamine; 128.1% (RSD = 0.5%; n = 9) Riboflavin;117.0% (RSD = 0.7%; n = 9) | COMPLIES COMPLIES COMPLIES COMPLIES COMPLIES
Acidity/Alkalinity | pH | Manufacturer's In - house Method | 4.10 - 4.50 | 4.43 | COMPLIES
CONCLUSION : | The sample complies with the specifications of the tests performed.
ANALYST: | MR. F. NAULA |  | DATE: 21-12-2015
ANALYST: | DR. K. BOTA |  | DATE: 21-12-2015
ANALYST: | DR. G. WANG'ANG'A |  | DATE: 21-12-2015
ANALYST: | ERNEST MBAE |  | DATE: 12-23-2015
DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE: 05-10-2016