## COA
CERTIFICATE OF ANALYSIS
| CERTIFICATE No: |  | CAN/2015/
PRODUCT: | PRAZINEX TABLETS |  |  | REF NO: NDQD201502098
DATE RECEIVED | LABELCLAIM | Each uncoated tablet contains: Praziquentel USP 50 mg,Pyrantel Pamoate USP 144, Fenbendazole B.P (Vet) 500 mg.
19.02.2015
BATCH No. SP14020 | PRESENTATION | white flavored powder for reconstitution in 100ml amber bottle inside a unit box.
MFG. DATE | MANUFACTURER | SEQUENT Scientific Ltd.
Sep.2014
EXP. DATE: | ADDRESS | At:-70/1, GIDC Estate, Khambhat- Gujarat, INDIA.
Aug.2016
CLIENT REF NO | CLIENT | SEQUENT Scientific Ltd c/o HIGHCHEM LTD P.O BOX 30467-00100, Nairobi
-
- | TEST(S) REQUESTED | Uniformity of Weight, Identification, Friability, Disintegration & Assay
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
Uniformity of Weight | Weight | B.P. 2012 Vol. V App XII C | < 2 tablets deviate by more than 5% from mean tablet weight | One Deviates (-7 %) | COMPLIES
Identification | HPLC UV Visible | Manufacturer's In -house Method | RT of the component peak in the assay sample preparation corresponds to those in the assay standard preparation | Super-imposable peak at RT 2.6, 5.8, min + -10% present in both the assay sample and standard preparations | COMPLIES
Friability | Friability | B.P. 2012 Vol. V App. XVII G | < 1 % | 0.4% | COMPLIES
Disintegration | Disintegration | Manufacturer's In -house Method | All Tablets disintegrate within 60 Seconds [n=6] | All tablets disintegrated within 21 minutes and 21 Seconds | COMPLIES
Assay | HPLC HPLC UV | Manufacturer's In -house Method Manufacturer's In -house Method | 90-110% 90-110% 90- 110% | Praziquentel 98.4% (RSD = 0.3% ; n = 9) Pyrantel Pamoate 94.9% (RSD = 0.6% ; n = 9) Fenbendazole 103.9% (RSD = 1.4% ; n = 9) | COMPLIES COMPLIES COMPLIES
CONCLUSION : | The sample complies with the specifications of the tests perfomed.
ANALYST: | DR. KHADIJA HASSAN |  | DATE: 05-07-2015
ANALYST: | ERNEST MBAE |  | DATE: 05-07-2015