## COA
CERTIFICATE OF ANALYSIS
| CERTIFICATE No: |  | CAN/2015/
PRODUCT: | LEVOGASTROL 25 mg TABLETS |  |  | REF NO: NDQD201503148
DATE RECEIVED | LABELCLAIM | Each tablet contains Levosulpiride 25 mg and Excipients q.s.p.
24.03.2015
BATCH No. G002 | PRESENTATION | Off white, circular shaped, biconvex faced tablets, embossed '25' on one face and plain on the other, packed in a blister strip of 15 tablet and 2 such strips in a unit box.
MFG. DATE | MANUFACTURER | LABORATORIOS SALVAT, S.A.
Feb. 2012
EXP. DATE: | ADDRESS | Gall, 30-36,Esplugues de Llobregeat, 08950 Barcelona, SPAIN.
Feb. 2016
CLIENT REF NO | CLIENT | MACNAUGHTON LTD. p.o box 148-00502, Karen, Nairobi KENYA.
-
- | TEST(S) REQUESTED | Uniformity of Weight, Identification, Dissolution & Assay
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
Uniformity of Weight | Weight | B.P. 2012 Vol. V App XII C | NMT 2 tablets deviate by more than 7.5% from mean weight | None Deviate | COMPLIES
Identification | HPLC | Manufacturer's In - House Method | RT of the Component peak in the assay sample preparation corresponds to that in the assay standard preparation | Super-imposable peak at RT 3.6 Â± 10% min. present in both the assay and standard sample preparations | COMPLIES
Dissolution | UV | Manufacturer's In - House Method | No Tablet less than 85.0% (n=6) | 94.5% (RSD=1.8%,n=9) | COMPLIES
Assay | HPLC | Manufacturer's In - House Method | 92.0 - 105.0% | 94.5%, (RSD=1.8%,n=9) | COMPLIES
CONCLUSION : | The product complies with the specifications for the tests performed.
ANALYST: | DR. K. BOTA |  | DATE: 23-09-2015
REVIEWER: | DR. R. MANANI |  | DATE: 09-10-2015
ANALYST: | SERAH MUTERU |  | DATE: 10-12-2015
DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE: 10-14-2015