## COA
CERTIFICATE OF ANALYSIS
| CERTIFICATE No: |  | CAN/2015/
PRODUCT: | LORABIL PLUS CAPSULES |  |  | REF NO: NDQD201503149
DATE RECEIVED | LABELCLAIM | Each hard gelatin capsule contains: Rabeprazole Sodium 20 mg(enteric coated pellets)and Itopride Hydrochloride 150 mg (as sustained release pellets).
24.03.2015
BATCH No. DLAB 1501 | PRESENTATION | Hard gelatin capsules with a yellow coloured cap and body, filled with a mixture of white and brown pellets, packed in aa aluminium blister strip of 10 capsules and 3 such strips in a unit box.
MFG. DATE | MANUFACTURER | CORAL Laboratories Ltd.
Feb.2015
EXP. DATE: | ADDRESS | Plot No.57/1(16),Bhenslore, Dunetha, Nani Daman - 396 210, INDIA.
Jan.2017
CLIENT REF NO | CLIENT | LORDS HEALTHCARE LIMITED P.O BOX 49397-00100, Nairobi, KENYA
-
- | TEST(S) REQUESTED | Uniformity of Weight, Identification, Dissolution & Assay
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
Uniformity of Weight | Weight | B.P. 2012 Vol. V App XII C | NMT 2 capsules deviate by more than 7.5% from mean weight | None Deviates | COMPLIES
Identification | HPLC | Manufacturer's In-House Method | RT of the component Peak in the assay sample preparation correspond to that in the assay standard preparation | Super-imposable peak at RT 4.6,10.5 +/- 10% min. present in both the assay sample and standard preparations | COMPLIES
Dissolution | HPLC HPLC | Manufacturer's In-House Method | Itopride 1 hr 15-40% [n=6] 2 hrs 35-70% [n=6] 3 hrs 60-85% [n=6] After 3 hrs NLT 70% -------------------- Rabeprazole Acid Stage NLT 85.0% Buffer Stage NLT 70.0% | Itopride 30.1% (RSD = 12.1% ; n = 6) Itopride 60.3% (RSD = 6.0 % ; n = 6) Itopride 73.8% (RSD = 5.8% ; n = 6) Itopride 78.8% (RSD = 4.2% ; n = 6) Itopride 73.8% (RSD = 5.8%; n = 6) Rabeprazole 94.8% (RSD = 0.7% ; n = 6) Rabeprazole 82.97% (RSD = 3.86% ; n = 6) | COMPLIES COMPLIES COMPLIES COMPLIES COMPLIES COMPLIES COMPLIES
Assay | HPLC HPLC | Manufacturer's In-House Method | 90-110.0% | itopride 96.6% (RSD = 1.4% ; n = 9) Rabeprazole 94.4% (RSD = 1.4% ; n = 9) | COMPLIES COMPLIES
CONCLUSION : | The sample complies with the specifications of the tests perfomed.
ANALYST: | DR. E. MUTUA |  | DATE: 05-07-2015
ANALYST: | DR. G. WANG'ANG'A |  | DATE: 02-09-2015
ANALYST: | ERNEST MBAE |  | DATE: 09-03-2015
DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE: 09-08-2015