## COA
CERTIFICATE OF ANALYSIS
| CERTIFICATE No: |  | CAN/2016/
PRODUCT: | GFLOX INFUSION 200 mg /100 mL |  |  | REF NO: NDQD201504182
DATE RECEIVED | LABELCLAIM | Each 100 mL contains Gatifloxacin 200 mg, Glucose Anhydrous B.P. 5% w/v & Water for injection B.P. q.s.
16.04.2015
BATCH No. 443909 | PRESENTATION | Clear, light straw coloured solution for intravenous infusion, contained in a clear colourless 100 mL plastic infusion bottle fitted with a white flip off cap in a unit box.
MFG. DATE | MANUFACTURER | ABACUS Parenteral Drugs Ltd.
May 2014
EXP. DATE: | ADDRESS | Block 191, Plot No. 114, Kinga, Mukono, Kampala, UGANDA.
May 2016
CLIENT REF NO | CLIENT | ABACUS Pharma (A) Ltd. Abacus Complex, Off Baba Dogo Road Ruaraka, P.O Box 66829 -00800, Nairobi, KENYA
-
- | TEST(S) REQUESTED | Sterility, Identification, Bacterial Endotoxin, Assay & Acidity/Alkalinity
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
Sterility | Membrane Filtration | BP 2012 Vol. V App. XVI A | No Microbial Growth | No Microbial Growth | COMPLIES
Identification |  |  |  |  | COMPLIES
Bacterial Endotoxin | LAL | Manufacturer' In - House Method | NMT 1.5 EU/mL | 1.1 X 10-7 EU/mL | COMPLIES
Assay | UV/Polarimetry | Manufacturer' In - House Method | 90.0 - 110.0% | Gatifloxacin 92.0%, (RSD=0.1%, n=9) Glucose Anhydrous 98.6% (RSD = 0.1%, n=9) | COMPLIES
Acidity/Alkalinity | pH | Manufacturer' In - House Method | 4.0 - 5.5 | 4.5 | COMPLIES
CONCLUSION : | The sample complies with the specifications of the tests performed.
ANALYST: | MR. E. NGAMAU |  | DATE: 22-12-2015
ANALYST: | MR. M. SANGALE |  | DATE: 22-12-2015
ANALYST: | DR. M. KWENA |  | DATE: 22-12-2015
ANALYST: | ERNEST MBAE |  | DATE: 12-23-2015
DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE: 01-15-2016