## COA
CERTIFICATE OF ANALYSIS
| CERTIFICATE No: |  | CAN/2016/
PRODUCT: | ALBEN TABLETS |  |  | REF NO: NDQD201506265
DATE RECEIVED | LABELCLAIM | Each chewable tablets contains: Albendazole USP 200 mg.
04.06.2015
BATCH No. 150004 | PRESENTATION | Light orange coloured, caplet shaped, flat faced, bevel edged tablets, scored on one face and plain on the other, packed in a blister strip of 2 tablets in a single dose box and 30 such boxes in a bigger box.
MFG. DATE | MANUFACTURER | SHELYS Pharmaceuticals Ltd.
Jan. 2015
EXP. DATE: | ADDRESS | Plot No. New Bagamoyo Road, Mwenge P.O. Box 3016, Dar Es Salaam, TANZANIA.
Dec. 2018
CLIENT REF NO | CLIENT | Beta Healthcare International Ltd P. O. Box 42569-00100, Nairobi, KENYA
-
- | TEST(S) REQUESTED | Uniformity of Weight, Identification, Dissolution, Disintegration & Assay
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
Uniformity of Weight | Weight | BP 2016 Vol. V App XII C | NMT 2 tablets deviate by more than 5% from mean tablet weight | None Deviates | COMPLIES
Identification | HPLC | USP 38 NF 33 Page 2066 | RT of the major peak in the assay sample preparation corresponds to that in the standard preparation | Super-imposable peak at RT 6.5 -/+ 10% min. present in both the assay sample and standard preparations | COMPLIES
Dissolution | UV | USP 38 NF 33 Page 2066 | No tablet less than 85% [n=6] | 1.0% (RSD=38.2%, n=6) | COMPLIES
Disintegration | Disintegration | USP 38 NF 33 Page 2066 | All Tablets disintegrate within 30 minutes [n=6] | All Tablets disintegrated within 30 minutes seconds [n=6] | COMPLIES
Assay | HPLC HPLC | USP 38 NF 33 Page 2066 | 90.0 -110.0% | 76.6% (RSD=1.9%, n=18) | COMPLIES
CONCLUSION : | The sample complies with the specifications for the tests performed.
ANALYST: | DR. E. MUTUA |  | DATE: 25-05-2016
ANALYST: | DR. N. MWAURA |  | DATE: 14-06-2016