## COA
CERTIFICATE OF ANALYSIS
| CERTIFICATE No: |  | CAN/2015/
PRODUCT: | 0 |  |  | REF NO: NDQD201507018
DATE RECEIVED | LABELCLAIM | Each tablet contains 112.5 mg Fluralaner.
09.07.2015
BATCH No. A009A03 | PRESENTATION | Dark brown coloured, round shaped, chewable tablets, plain on both faces, packed in aluminium foil blister strip of 1 tablet in a unit box and 10 such boxes in a larger box.
MFG. DATE | MANUFACTURER | INTERVET South Africa (Pty) Ltd.
Not Indicated
EXP. DATE: | ADDRESS | 20 Spartan Road,1619, RSA, SOUTH AFRICA.
Sep. 2016
CLIENT REF NO | CLIENT | COOPER K - BRAND LTD P.O BOX 40596 - 00100, Nairobi, KENYA
-
- | TEST(S) REQUESTED | Uniformity of Weight, Identification, Disintegration & Assay
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
Uniformity of Weight | Weight | B.P. 2012 Vol .V App XII C | NMT 2 tablets deviate by more than 5% from mean weight | None Deviates | COMPLIES
Identification | HPLC | Manufacturer's In - House Method | RT of the Component peak in the assay sample preparation corresponds to that in the assay standard preparation | Super-imposable peak at RT 15.7 Ã‚Â± 10% min. present in both the assay and standard sample preparations | COMPLIES
Disintegration | Disintegration |  | - | 1 hour 30 minutes
Assay | HPLC | Manufacturer's In - House Method | 95.0 % - 105.0 % | 100.5% (RSD = 1.4% ; n = 9) | COMPLIES
CONCLUSION : | The sample complies with the specifications of the tests perfomed.
ANALYST: | DR. S. MWANGI |  | DATE: 03-09-2015
REVIEWER: | DR. G. WANG'ANG'A |  | DATE: 10-09-2015
ANALYST: | SERAH MUTERU |  | DATE: 09-17-2015
DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE: 09-29-2015