## COA
CERTIFICATE OF ANALYSIS
| CERTIFICATE No: |  | CAN/2016/
PRODUCT: | Lamivudine 300 mg and Tenofovir Disoproxil Fumarate 300 mg Tablets |  |  | REF NO: NDQD201508135
DATE RECEIVED | LABELCLAIM | Each film coated tablet contains Tenofovir Disoproxil Fumarate 300 mg equivalent to Tenofovir Disoproxil 245 mg & Lamivudine USP 300 mg.
06.08.2015
BATCH No. BLD1427A | PRESENTATION | White coloured, caplet-shaped, tablets, embossed 'CL 71' on one face and plain on the other, packed in a white plastic multidose container carrying 30 tablets in a unit box.
MFG. DATE | MANUFACTURER | MACLEODS Pharmaceuticals Ltd
Mar.2014
EXP. DATE: | ADDRESS | Village Theda, P.O. Lodhimajra, Tehsil Baddi, Dist. Solan, Himachal Pradesh, 174 101 , Off.: Atlanta Arcade, Marol Church Road, Andheri (E), Mumbai - 400 059, INDIA.
Feb.2016
CLIENT REF NO | CLIENT | National AIDS and STI Control Programme P.O. BOX 19361 Nairobi
-
- | TEST(S) REQUESTED | Uniformity of Weight, Identification, Dissolution & Assay
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
Uniformity of Weight | Weight | BP 2012 Vol .V App XII C | < 2 tablets deviate by more than 5% from mean tablet weight | None Deviates | COMPLIES
Identification | HPLC | Adopted In-House Method | RT of the component Peaks in the assay sample preparation correspond to those in the assay standard preparation | Super-imposable peak at RT 3.5 & 8.0 +/- 10% min. present in both the sample and standard assay preparations. | COMPLIES
Dissolution | HPLC | Adopted In-House Method | No tablet less than 85.0% [n=6] | Lamivudine 100.7% (RSD = 0.21%; n=6) Tenofovir disoproxil fumarate 100.9% (RSD = 0.26%; n=6) | COMPLIES COMPLIES
Assay | HPLC | Adopted In-House Method | 90.0-110.0% | Lamivudine 108.4% (RSD = 2.0%; n=9) Tenofovir disoproxil fumarate 102.3% (RSD = 2.02%; n=9) | COMPLIES COMPLIES
CONCLUSION : | The sample complies with the specifications of the tests performed.
ANALYST: | MR. M. SANGALE |  | DATE: 21-09-2015
REVIEWER: | DR. E. MBAE |  | DATE: 25-11-2015
ANALYST: | ERNEST MBAE |  | DATE: 12-08-2015
DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE: 01-14-2016