## COA
CERTIFICATE OF ANALYSIS
| CERTIFICATE No: |  | CAN/2015/
PRODUCT: | NEVIRAPINE TABLETS USP 200 mg |  |  | REF NO: NDQD201508156
DATE RECEIVED | LABELCLAIM | Each uncoated tablet contains: Nevirapine U.S.P. 200 mg.
06.08.2015
BATCH No. NE2014053-B | PRESENTATION | White colored, caplet shaped, biconvex faced tablets, single scored on both faces and embossed "C" and "35" on either sides of the score on one face, packed in a white plastic multi-dose container carrying 60 tablets in a unit box.
MFG. DATE | MANUFACTURER | AUROBINDO Pharma LImited.
Jul. 2014
EXP. DATE: | ADDRESS | Unit III, Survey No. 313, Bachupally Village, Quthubullapur Mandal, Ranga Reddy District (A.P.), INDIA.
Jun. 2016
CLIENT REF NO | CLIENT | National AIDS and STI Control Programme P.O. BOX 19361 Nairobi
-
- | TEST(S) REQUESTED | Uniformity of Weight, Identification, Dissolution & Assay
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
Uniformity of Weight | Weight | B.P. 2012 Vol. V App XII C | NMT 2 tablets deviate by more than 5% from mean weight | None Deviates | COMPLIES
Identification | HPLC | Adopted In-House Method | RT of the major peak in the assay sample preparation corresponds to that in the assay standard preparation | Super-imposable peak at RT 5.4 +/- 10% min. present in both the assay sample and standard preparations | COMPLIES
Dissolution | HPLC | Adopted In-House Method | No tablet less than 80% [n = 6] | 100.6% (RSD = 1.9%; n = 6) | COMPLIES
Assay | HPLC | Adopted In-House Method | 90.0 - 110.0% | 98.2% (RSD = 0.8%; n = 9) | COMPLIES
CONCLUSION : | The product complies with the specifications for the tests performed.
ANALYST: | DR. E. MUTUA |  | DATE: 01-10-2015
REVIEWER: | DR. G. WANG'ANG'A |  | DATE: 19-10-2015
DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE: 11-05-2015