## COA
CERTIFICATE OF ANALYSIS
| CERTIFICATE No: |  | CAN/2016/
PRODUCT: | GVITHER(R) 20 INJECTION |  |  | REF NO: NDQD201508195
DATE RECEIVED | LABELCLAIM | Each ampoule contains: Artemether 20 mg/mL
24.08.2015
BATCH No. BIA13013 | PRESENTATION | Clear, colourless oily solution for intramuscular administration contained in clear, colourless, 1 mL glass ampoule. Packed on a plastic rack carrying 10 ampoules and 1 such rack in unit box.
MFG. DATE | MANUFACTURER | Bliss GVS Pharma Ltd.
Aug.2013
EXP. DATE: | ADDRESS | Plot No. 73 to 76, Silver Industrial Estate, Bhimpore, Daman -396 210(UT) Regd. Off.: 102, Hydepark, Saki Vihar Road, Andheri(E),Mumbai - 400 072 INDIA.
Jul.2016
CLIENT REF NO | CLIENT | Pharmacy Board Of Sierra Leone, Central Medical Stores, Free Town, SIERRA LEONE
-
- | TEST(S) REQUESTED | Sterility, Identification, Bacterial Endotoxin, Assay & Acidity/Alkalinity
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
Sterility | Membrane Filtration | BP 2016 Vol. V App. XVI A | No microbial growth | No microbial growth | COMPLIES
Identification | HPLC | Ph. Int. 5th Edition 2015 | RT of the Major Peak in the assay sample preparation corresponds to that in the assay standard preparation | Super-imposable peak at RT 9.9 -/+ 10% min. present in both the assay sample and standard preparations | COMPLIES
Bacterial Endotoxin | LAL | Ph. Int. 5th Edition 2015 | NMT 1.56 EU/mg | 4.5*10-4 EU/mg | COMPLIES
Assay | HPLC | Ph. Int. 5th Edition 2015 | 95.0 - 105.0 % | 99.6% (RSD = 0.9% ; n = 7) | COMPLIES
CONCLUSION : | The sample complies with the specifications for the tests performed.
ANALYST: | MR. E. NGAMAU |  | DATE: 09-11-2015
ANALYST: | MR. M. SANGALE |  | DATE: 01-05-2016
ANALYST: | DR. M. KWENA |  | DATE: 01-07-2016
ANALYST: | ERNEST MBAE |  | DATE: 02-12-2016
DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE: 03-01-2016