## COA
CERTIFICATE OF ANALYSIS
| CERTIFICATE No: |  | CAN/2015/
PRODUCT: | FANSIDAR 500/25 mg TABLETS |  |  | REF NO: NDQD201508236
DATE RECEIVED | LABELCLAIM | Each tablet contains 500 mg Sulfadoxine(USP)and 25 mg Pyrimethamine (USP).
24.08.2015
BATCH No. P02720 | PRESENTATION | White coloured, circular shaped, flat faced, bevel edged tablets, double scored on one face and plain on the other, packed in blister strips of 10 tablets and 15 such strips in a unit box.
MFG. DATE | MANUFACTURER | MARTIN Dow Pharmaceuticals(Pakistan)Limited.
Aug. 2013
EXP. DATE: | ADDRESS | Plot 37, Sector 19,Korangi Industrial Area, Karachi, PAKISTAN.
Aug. 2018
CLIENT REF NO | CLIENT | Pharmacy Board Of Sierra Leone New England Ville, Central Medical Stores, Free Town
-
- | TEST(S) REQUESTED | Uniformity of Weight, Identification, Dissolution & Assay
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
Uniformity of Weight | Weight | BP 2012 Vol. V App XII C | NMT 2 tablets deviate by more than 5% from mean weight | None Deviates | COMPLIES
Identification | HPLC | USP 38 NF 33 2015 Vol.3 Page 5390 | RT of the component peaks in the assay sample preparation correspond to those in the assay standard preparation | Super-imposable peaks at RT 7.3 and 9.4 +/- 10% min. present in both assay sample and standard preparations | COMPLIES
Dissolution | HPLC | USP 38 NF 33 2015 Vol.3 Page 5390 | No tablet less than 65.0% [n=6] | Pyrimethamine 89.5% (RSD = 6.3%; n=6) Sulfadoxine 85.9% (RSD = 7.0%; n=6) | COMPLIES COMPLIES
Assay | HPLC | USP 38 NF 33 2015 Vol.3 Page 5390 | 90.0 - 110.0% | Pyrimethamine 98.2% (RSD = 1.5%; n=9) Sulfadoxine 94.5% (RSD = 1.8%; n=9) | COMPLIES COMPLIES
CONCLUSION : | The sample complies with the specifications of the tests performed.
null | NULL |  | DATE: null
DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE: 12-03-2015
The sample complies with the specifications of the tests performed.