## COA
CERTIFICATE OF ANALYSIS
| CERTIFICATE No: |  | CAN/2016/
PRODUCT: | POLYMIC TABLETS |  |  | REF NO: NDQD201509269
DATE RECEIVED | LABELCLAIM | Each film coated tablet contains: Ofloxacin USP 200 mg and Ornidazole 500 mg.
08.09.2015
BATCH No. PB4007 | PRESENTATION | Orange coloured, caplet shaped, biconvex faced tablets, single scored on one face and plain on the other, packed in amber coloured blister strips of 10 tablets each and 10 such strips in a unit box.
MFG. DATE | MANUFACTURER | KUSUM Healthcare Pvt. Ltd.
May.2014
EXP. DATE: | ADDRESS | SP 289 (A), RIICO, Indl. Area, Chopanki, Bhiwadi (Rajasthan), INDIA.
Apr.2017
CLIENT REF NO | CLIENT | Highridge Pharmaceuticals Ltd. P. O. Box 32982 - 00600, Nairobi, KENYA.
-
- | TEST(S) REQUESTED | Uniformity of Weight, Identification, Dissolution & Assay
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
Uniformity of Weight | Weight | BP 2012 Vol. V App XII C | NMT 2 tablets deviate by more than 5% from mean tablet weight | None Deviates | COMPLIES
Identification | HPLC | Manufacturer's In-House Method | RT of the component peaks in the assay sample preparation correspond to those in the assay standard preparation | Super-imposable peaks at RT 3.3 and 4.9 -/+ 10% min. present in both the assay sample and standard preparations | COMPLIES
Dissolution | HPLC | Manufacturer's In-House Method | Not less than 80% | Ofloxacin 98.8% (RSD=3.3%; n=6) Ornidazole 96.8% (RSD=2.1%; n=6) | COMPLIES COMPLIES
Assay | HPLC | Manufacturer's In-House Method | 90.0 - 110.0% | Ofloxacin 101.8% (RSD=1.5%; n=9) Ornidazole 98.7% (RSD=1.3%; n=9) | COMPLIES COMPLIES
CONCLUSION : | The sample complies with the specifications for the tests performed.
ANALYST: | DR. L. KARANJA |  | DATE: 29-02-2016
REVIEWER: | DR. E. TANUI |  | DATE: 29-02-2016
ANALYST: | NICHOLAS MWAURA |  | DATE: 03-01-2016
DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE: 03-01-2016