## COA
CERTIFICATE OF ANALYSIS
| CERTIFICATE No: |  | CAN/2016/
PRODUCT: | D50 GLUCOSE INTRAVENOUS INFUSION |  |  | REF NO: NDQD201509274
DATE RECEIVED | LABELCLAIM | Each 100 mL contains: Glucose Anhydrous B.P 50.0 g & Water for injection B.P q.s.
10.09.2015
BATCH No. 423904 | PRESENTATION | Clear, colourless solution for intravenous infusion, contained in a transparent plastic 100 mL infusion bottle fitted with a white flip off cap in a unit box.
MFG. DATE | MANUFACTURER | ABACUS Parenteral Drugs Ltd.
May.2014
EXP. DATE: | ADDRESS | Block 191, plot No.114, Kinga, Mukono, P.O Box 31376, Kampala, UGANDA.
May.2016
CLIENT REF NO | CLIENT | ABACUS Pharma (A) Ltd. Abacus Complex, Off Baba Dogo Road Ruaraka, P.O Box 66829 -00800, Nairobi, KENYA
-
pv 160 | TEST(S) REQUESTED | Sterility, Related Substances, Identification, Bacterial Endotoxin, Assay & Acidity/Alkalinity
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
Sterility | Membrane Filtration | BP 2016 Vol. IV App. XVI A | No Microbial Growth | No Microbial Growth | COMPLIES
Related Substances | UV | BP 2016, Vol 3 Page. 635 | UV Absorbance of the test solution at 284 nm is NMT 0.25 | The absorbance of test solution at 284 nm was Less than 0.25 | COMPLIES
Identification |  | Test not done, please confirm and remove if true | Test not done, please confirm and remove if true | Test not done, please confirm and remove if true | COMPLIES
Bacterial Endotoxin | LAL | USP 38 NF 33 Vol 2 page 3065 | Less than 10 EU/g | Less than 5.8 * 10-4 EU/g (Include the symbol) | COMPLIES
Assay | POLARIMETRY | BP 2016, Vol 3 Page. 635 | 95.0%-105.0% | Glucose anhydrous (Average=98.6%, RSD=-, n=9) | COMPLIES
Acidity/Alkalinity | pH | USP 38 NF 33 Vol 2 page 3065 | 3.2 - 6.5 | 3.3 | COMPLIES
CONCLUSION : | The sample complies with the specifications of the tests performed.
REVIEWER: | DR. G. WANG'ANG'A |  | DATE: 07-12-2015
ANALYST: | MR. E. NGAMAU |  | DATE: 05-10-2015
ANALYST: | MR. D. MOENGA. |  | DATE: 10-11-2015
REVIEWER: | DR. E. TANUI |  | DATE: 12-10-2015
ANALYST: | ERNEST MBAE |  | DATE: 12-23-2015
DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE: 01-15-2016