## COA
CERTIFICATE OF ANALYSIS
| CERTIFICATE No: |  | CAN/2016/
PRODUCT: | BACTOCLAV-375 TABLETS |  |  | REF NO: NDQD201509363
DATE RECEIVED | LABELCLAIM | Each film coated tablet contains: Amoxicillin Trihydrate BP Equivalent to Amoxicillin 250 mg and Potassium ClavulanateBP (as Potassium Clavulanate Diluted BP) Equivalent to Clavulanic acid 125 mg.
29.09.2015
BATCH No. BAABV0002 | PRESENTATION | Off white coloured, caplet shaped, biconvex faced tablets, single scored on one face and embossed 'AC' on the other, packed in an aluminium foil strip of 10 tablets, 2 such strips in a unit box.
MFG. DATE | MANUFACTURER | MICRO Labs Limited.
Mar. 2014
EXP. DATE: | ADDRESS | Plot No. 16, Veerasandra Industrial Area, Anekal Taluk, Bangalore â€“ 560 100, INDIA.
Feb. 2016
CLIENT REF NO | CLIENT | Pharmacy and Poisons Board P.O. Box 27663-00506 Nairobi, KENYA
-
AMOCLAV/08/10/03/2015/00080 | TEST(S) REQUESTED | Uniformity of Weight, Identification, Dissolution & Assay
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
Uniformity of Weight | Weight | BP 2016 Vol. V App XII C | NMT 2 tablets deviate by more than 5% from mean tablet weight | None Deviates | COMPLIES
Identification | HPLC | USP 38 NF 33 Page 2227 | RT of the component peaks in the assay sample preparation correspond to those in the standard preparation | Super-imposable peaks at RT 3.8 and 7.4 -/+ 10% min present in both the assay sample and standard preparations | COMPLIES
Dissolution | HPLC | USP 38 NF 33 Page 2227 | S2 Average 85% No tablet less than 70.0% [n=12] | Amoxicillin 92.1% (RSD=8.9%, n=12) Clavulanic acid 95.4% (RSD=7.3%, n=12) | COMPLIES COMPLIES
Assay | HPLC | USP 38 NF 33 Page 2227 | 90.0 - 120.0% | Amoxicillin 97.6% (RSD=2.0%, n=5) Clavulanic acid 115.0% (RSD=1.7%, n=9) | COMPLIES COMPLIES
CONCLUSION : | The sample complies with the specifications for the tests performed.
ANALYST: | DR. E. MUTUA |  | DATE: 5-06-2016
ANALYST: | DR. G. WANGANGA |  | DATE: 16-06-2016
The sample complies with the specifications for the tests performed.