## COA
CERTIFICATE OF ANALYSIS
| CERTIFICATE No: |  | CAN/2015/
PRODUCT: | NEVIRAPINE TABLETS USP 200 mg |  |  | REF NO: NDQD201510426
DATE RECEIVED | LABELCLAIM | Each tablet contains 200 mg of Nevirapine USP.
08.10.2015
BATCH No. E142273 | PRESENTATION | White coloured, caplet shaped, biconvex faced tablets, single scored on both faces and embossed '7' on one side of the score on one face and 'H' on one side of the score on the other face, packed in a white plastic multi-dose container carrying 60 tablets in a unit box.
MFG. DATE | MANUFACTURER | HETERO Labs Ltd
Dec. 2014
EXP. DATE: | ADDRESS | 22-110, I.D.A., Jeedimetla, Hyderabad - 500 055, INDIA.
Nov. 2018
CLIENT REF NO | CLIENT | Christa Cepuch c/o MSF -
-
- | TEST(S) REQUESTED | Uniformity of Weight, Identification, Dissolution & Assay
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
Uniformity of Weight | Weight | B.P. 2012 Vol. V App XII C | NMT 2 tablets deviate by more than 5% from mean weight | None deviates | COMPLIES
Identification | HPLC | USP 38 NF 33 Vol.3 Page 4540 | RT of the major peak in the assay sample preparation corresponds to that in the assay standard preparation | Super-imposable peak at RT 8.9 +/- 10% min. present in both the assay sample and standard preparations | COMPLIES
Dissolution | HPLC | USP 38 NF 33 Vol.3 Page 4540 | No tablet less than 80% [n = 6] | 97.8% (RSD=1.4%; n=6) | COMPLIES
Assay | HPLC | USP 38 NF 33 Vol.3 Page 4540 | 90.0 % - 110.0 % | 103.5% (RSD=1.8%; n=8) | COMPLIES
CONCLUSION : | The sample complies with the specifications of the tests perfomed.
ANALYST: | DR. S. MWANGI |  | DATE: 13-10-2015
REVIEWER: | DR. E. MBAE |  | DATE: 28-10-2015
ANALYST: | NICHOLAS MWAURA |  | DATE: 11-04-2015
DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE: 11-06-2015