## COA
CERTIFICATE OF ANALYSIS
| CERTIFICATE No: |  | CAN/2016/
PRODUCT: | MOXICOR F SYRUP |  |  | REF NO: NDQD201510451
DATE RECEIVED | LABELCLAIM | Each 5 mL of reconstituted syrup contains: Amoxicillin Trihydtate BP Equivalent to Amoxicillin 125 mg, Flucloxacillin Sodium Bp Equivalent to Flucloxacillin 125 mg.
22.10.2015
BATCH No. BT-1501 | PRESENTATION | Light pink coloured granulated powder for reconstitution into suspension for oral administration contained in a 100 mL translucent plastic bottle, packed along with a 10 mL graduated measuring cap in a unit box.
MFG. DATE | MANUFACTURER | CORAL Laboratories Ltd.
Jun. 2015
EXP. DATE: | ADDRESS | Plot No.27/28, Pharmacity, Selaqui, Dehradun, Uttarakhand - 248 197, INDIA.
May 2017
CLIENT REF NO | CLIENT | TWOKAY CHEMICALS LTD P.O BOX 46169-00100 NAIROBI,KENYA
-
- | TEST(S) REQUESTED | Microbial Load, Identification, Assay & Acidity/Alkalinity
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
Microbial Load | Plate count | BP 2016 Vol. V App. XVI B | Total Aerobic Microbial Count (TAMC) NMT 200 CFU/g Total Combined Yeasts /Moulds Count (TYMC) NMT 20 CFU/g | < 10 CFU/g < 10 CFU /g | COMPLIES COMPLIES
Identification | HPLC | Adopted In-House Method | RT of the component peaks in the assay sample preparation correspond to those in the assay standard preparation | Super-imposable peaks at RT 2.6 and 12.9 -/+ 10% min present in both the assay sample and standard preparations | COMPLIES
Assay | HPLC | Adopted In-House Method | Day 1 90.0% - 120.0% Day 7 80.0% - 120.0% | Day 1 Amoxicillin Trihydrate 99.5% (RSD=0.5%, n=6) Flucloxacillin 119.8% (RSD=1.5%, n=9) Day 7 Amoxicillin Trihydrate 110.6% (RSD=1.2%, n=9) Flucloxacillin 119.6% (RSD=0.8%, n=9) | COMPLIES COMPLIES COMPLIES COMPLIES
Acidity/Alkalinity | pH | BP 2016 Vol. V App XII C | 4.0 - 7.5 | 5.2 | COMPLIES
CONCLUSION : | The sample complies with the specifications for the tests performed.
ANALYST: | MR. F. NAULA |  | DATE: 10-27-2015
ANALYST: | DR. E. MUTUA |  | DATE: 12-21-2015
ANALYST: | DR. G. WANG'ANG'A |  | DATE: 05-24-2016
ANALYST: | EMMANUEL TANUI |  | DATE: 06-08-2016
DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE: 06-14-2016