## COA
CERTIFICATE OF ANALYSIS
| CERTIFICATE No: |  | CAN/2016/
PRODUCT: | CORALUX SUSPENSION |  |  | REF NO: NDQD201510458
DATE RECEIVED | LABELCLAIM | Each 5 mL Contains:Dried Aluminium Hydroxide Gel USP equivalent to Aluminium Hydroxide 365 mg Magnesium Hydroxide Paste USP equivalent to Magnesium Hydroxide 80 mg Simethicone Emulsion USP equivalent to Simethicone 100 mg and Deglycyrrhizinated Liquorice
22.10.2015
BATCH No. DCEU 1501 | PRESENTATION | Deep green coloured viscous suspension for oral administration contained in a 100 mL amber coloured plastic bottle with a metallic cap, packed along with a 10 mL graduated plastic measuring cup in a unit box.
MFG. DATE | MANUFACTURER | CORAL Laboratories Ltd.
May 2015
EXP. DATE: | ADDRESS | Plot No.57/1 (16) Brenslore Dunetha, Nani Doman -396 210, INDIA.
May 2018
CLIENT REF NO | CLIENT | TWOKAY CHEMICALS LTD P.O BOX 46169-00100 NAIROBI,KENYA
-
- | TEST(S) REQUESTED | Uniformity of Volume, Microbial Load, Identification, Assay & Acidity/Alkalinity
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
Uniformity of Volume | Volume | USP 38 NF 33 Page 2122 |  |  | COMPLIES
Microbial Load | Plate count | USP 38 NF 33 Page 2122 | Total Aerobic Microbial Count (TAMC) NMT 200 CFU/mL Total Combined Yeasts /Moulds Count (TYMC) NMT 20 CFU/mL | < 200 CFU/mL < 20 CFU/mL | COMPLIES COMPLIES
Identification | Titration | USP 38 NF 33 Page 2122 | 0 | TITRIMETRY | COMPLIES
Assay | Titration | USP 38 NF 33 Page 2122 | 90.0 - 115.0% | Magnesium Hydroxide 108.18% (RSD=1.3%, n=3) Alluminium Hydroxide 92.5% (RSD=1.1%, n=3) | COMPLIES COMPLIES
Acidity/Alkalinity | pH | USP 38 NF 33 Page 2122 | 4.5 - 6.5 | 7.82 | COMPLIES
CONCLUSION : | The sample complies with the specifications for the tests performed.
ANALYST: | DR. L. KARANJA |  | DATE: 05-30-2016
ANALYST: | DR. S. MUTERU |  | DATE: 06-27-2016