## COA
CERTIFICATE OF ANALYSIS
| CERTIFICATE No: |  | CAN/2016/
PRODUCT: | LEBAC POWDER For ORAL SUSPENSION USP |  |  | REF NO: NDQD201512600
DATE RECEIVED | LABELCLAIM | After reconstitution, each 5 mL suspension contains: Cefuroxime Axetil USP equivalent to Cefuroxime 125 mg & Excipients q.s.
03.12.2015
BATCH No. BS-59001 | PRESENTATION | Pink coloured granules for reconstitution into suspension for oral administration, contained in a 100 mL translucent plastic bottle in a unit box.
MFG. DATE | MANUFACTURER | CENTURION Laboratories (Div. of Centurion Remedies Pvt. Ltd.).
Jul. 2015
EXP. DATE: | ADDRESS | F/19,B.I.D.C., Gorwa, Dist: Vadodara, Gujarat, INDIA.
Jun. 2017
CLIENT REF NO | CLIENT | NEXTGEN Parmaceuticals (K) Ltd. P.O Box 20539- 00100, Nairobi, KENYA.
-
- | TEST(S) REQUESTED | Microbial Load, Identification, Assay & Acidity/Alkalinity
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
Microbial Load | Plate Count | BP 2016 Vol. V App. XVI B | Total Aerobic Microbial Count(TAMC) NMT 200 CFU/g Total Combined Yeasts/ Moulds Count (TYMC) NMT 20 CFU/g | < 10 CFU/g < 10 CFU/g | COMPLIES
Identification | HPLC | USP 38 NF 33 Page 2707 | RT of the major component peaks in the assay sample preparation corresponds to those in the assay standard preparation | Super-imposable peaks at RT 13.1 and 15.1 + 10% min. present in both the assay sample and standard preparations | COMPLIES
Assay | HPLC | USP 38 NF 33 Page 2707 | 90.0 - 110.0% | Day 1; 105.6% (RSD=0.9; n=6) Day 7; 95.5% (RSD=0.8; n=6) | COMPLIES COMPLIES
Acidity/Alkalinity | pH | USP 38 NF 33 Page 2707 | 3.5 - 7.0 | 4.2 | COMPLIES
CONCLUSION : | The sample complies with the specifications for the tests performed.
ANALYST: | MR . F. NAULA |  | DATE: 11-04-2016
ANALYST: | DR. J. CHEPCHUMBA |  | DATE: 11-04-2016
ANALYST: | DR. M. KWENA |  | DATE: 11-04-2016
ANALYST: | ERNEST MBAE |  | DATE: 04-14-2016
DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE: 04-27-2016