## COA
CERTIFICATE OF ANALYSIS
| CERTIFICATE No: |  | CAN/2016/
PRODUCT: | AIVPOD SUSPENSION |  |  | REF NO: NDQD201512609
DATE RECEIVED | LABELCLAIM | Each 5 mL of the reconstituted suspension contains: Cefpodoxime Proxetil USP equivalent to Cefpodoxime 100 mg and Excipients q.s.
08.12.2015
BATCH No. CX5010 | PRESENTATION | Off white granulated powder for reconstitution into suspension for oral administration, contained in a 60 mL transluscent plastic bottle, packed along with a 10 mL graduated measuring cap in a unit box.
MFG. DATE | MANUFACTURER | ASSOCIATED Biotech.
Sep. 2015
EXP. DATE: | ADDRESS | Village Kishanpura, Guru Majra Road, Nalagarh Road, Baddi. Distt. Solan, INDIA.
Aug. 2017
CLIENT REF NO | CLIENT | Aiveen (K) LTD, P.O. BOX 41601-00100 Nairobi, KENYA.
-
- | TEST(S) REQUESTED | Microbial Load, Identification, Assay & Acidity/Alkalinity
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
Microbial Load | Plate Count | BP 2016 Vol. V App. XVI B | Total Aerobic Microbial Count(TAMC) NMT 200 CFU/mL Total Combined Yeasts/ Moulds Count (TYMC) NMT 20 CFU/mL | TAMC < 10 CFU/mL TYMC < 10 CFU/mL | COMPLIES
Identification | HPLC | USP 38 NF 33 Vol. 2 Page 2691 | RT of the major peak in the assay sample preparation corresponds to that in the assay standard preparation | Super-imposable peak at RT 10.3, 11.3 -/+ 10% min. present in both the assay sample and standard preparations | COMPLIES
Assay | HPLC | USP 38 NF 33 Vol. 2 Page 2691 | 90.0 - 110.0 % | Freshly Reconstituted 103.0% (RSD=0.9%; n=9) 7 Days After Reconstitution 100.2% RSD=1.7%; n=9) | COMPLIES COMPLIES
Acidity/Alkalinity | pH | USP 38 NF 33 Vol. 2 Page 2691 | 4.0 - 5.5 | 4.5 | COMPLIES
CONCLUSION : | The sample complies with the specifications of the tests performed.
ANALYST: | MR. F. NAULA |  | DATE: 17-02-2016
ANALYST: | DR. E. TANUI |  | DATE: 17-02-2016
ANALYST: | DR. S. MWANGI |  | DATE: 17-02-2016
ANALYST: | ERNEST MBAE |  | DATE: 02-19-2016
DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE: 05-10-2016