## COA
CERTIFICATE OF ANALYSIS
| CERTIFICATE No: |  | CAN/2016/
PRODUCT: | AIVCLAV-375 TABLETS |  |  | REF NO: NDQD201512613
DATE RECEIVED | LABELCLAIM | Each film coated tablet contains: Amoxicillin Trihydrate USP equivalent to Amoxicillin 250 mg, Diluted Potassium Clavulanate BP equivalent to Clavulanic acid 125 mg and Excipients q.s.
08.12.2015
BATCH No. ET15B003 | PRESENTATION | Off white coloured, caplet shaped, biconvex faced tablets, plain on both faces, packed in an aluminium foil-blister strip of 7 tablets and 2 such strips in a unit box.
MFG. DATE | MANUFACTURER | MEDICEF Pharma.
Aug.2015
EXP. DATE: | ADDRESS | #28, Phase-I, EPIP Jharmajri, Baddi, Distt. Solan. (H.P), INDIA.
Jul.2017
CLIENT REF NO | CLIENT | Aiveen (K) LTD P.O. BOX 41601-00100 NAIROBI
-
- | TEST(S) REQUESTED | Uniformity of Weight, Identification, Dissolution & Assay
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
Uniformity of Weight | Weight | BP 2016 Vol. V App. XII C | NMT 2 tablets deviate by more than 5% from mean tablet weight | None Deviates | COMPLIES
Identification | HPLC | USP 38 NF 33 Page 2227 | RT of the component peaks in the assay sample preparation correspond to those in the assay standard preparation | Super-imposable peaks at RT; 3.9 & 5.7 -/+ 10% min. present in both the assay sample and standard preparations | COMPLIES
Dissolution | HPLC | USP 38 NF 33 Page 2227 | No tablet less than 90%[n=6] No tablet less than 85% [n=6] | Amoxicillin; 98.7%, (RSD=3.1%; n=6) Clavulanic Acid; 93.0% (RSD=1.0%; n=6) | COMPLIES COMPLIES
Assay | HPLC | USP 38 NF 33 Page 2227 | 90.0 - 120.0% | Amoxicillin; 99.6%, (RSD=0.8%; n=9) Clavulanic Acid; 97.6% (RSD=0.5%; n=9, | COMPLIES COMPLIES
CONCLUSION : | The sample complies with the specifications for the tests performed.
ANALYST: | DR. E. MUTUA |  | DATE: 22-03-2016
ANALYST: | DR. G. WANG'ANG'A |  | DATE: 22-03-2016
ANALYST: | ERNEST MBAE |  | DATE: 03-24-2016
DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE: 04-13-2016