## COA
CERTIFICATE OF ANALYSIS
| CERTIFICATE No: |  | CAN/2016/
PRODUCT: | AIVPOD-100 TABLETS |  |  | REF NO: NDQD201512616
DATE RECEIVED | LABELCLAIM | Each uncoated dispersible tablet contains; Cefpodoxime Proxetil USP eq.to Cefpodoxime 100 mg, Exipienta q.s.
08.01.2016
BATCH No. TCPM5014F | PRESENTATION | Light pink coloured, circular shaped, biconvex faced tablets, plain on both faces , packed in an aluminium foil of 10 tablets in a unit box.
MFG. DATE | MANUFACTURER | ASSOCIATED Biotech.
Sep.2015
EXP. DATE: | ADDRESS | Village Kishanpura, Guru Majra Road, Nalagarh Road, Baddi, Distt. Solan, INDIA.
Aug.2017
CLIENT REF NO | CLIENT | Aiveen (K) LTD P.O. BOX 41601-00100 NAIROBI
-
- | TEST(S) REQUESTED | Uniformity of Weight, Identification, Disintegration & Assay
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
Uniformity of Weight | Weight | BP 2016 Vol.V App XII C | NMT 2 tablets deviate by more than 5% from mean tablet weight | One (1) Deviates (+6.0 %) | COMPLIES
Identification | USP 38 NF 33 Page | USP 38 NF 33 Page 2691 | RT of the major peak in the assay sample preparation corresponds to that in the assay standard preparation | Super-imposable peak at RT 10.3, 11.3 -/+ 10% min. present in both the assay sample and standard preparations | COMPLIES
Disintegration | Disintegration | BP 2016 Vol. V App. XII A | Tablets disintegrate within 3 minutes [n=6] | Tablets disintegrated within one (1)minute | COMPLIES
Assay | HPLC | USP 38 NF 33 Page 2691 | 90.0 - 110.0 % | 97.9% (RSD=0.4%; n=9) | COMPLIES
CONCLUSION : | The sample complies with the specifications of the tests performed.
ANALYST: | DR . S. MWANGI |  | DATE: 25-02-2016
REVIEWER: | DR . S. MUTERU |  | DATE: 25-02-2016
DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE: 03-01-2016