## COA
CERTIFICATE OF ANALYSIS
| CERTIFICATE No: |  | CAN/2016/
PRODUCT: | BIOPOLIO R VACCINE |  |  | REF NO: NDQD201515592
DATE RECEIVED | LABELCLAIM | 1 dose = 0.1 mL (2 drops) contains: Poliovirus ( Sabin) PMKCC. Type 1 10 6.0 CCID 50, Type 2 10 5.0 CCID 50, Type 3 10 5.8 CCID 50, Neomycin Sulphate USP 15 ug and Kanamycin Sulphate USP 15 ug.
03.12.2015
BATCH No. 63AS04915097 | PRESENTATION | Light pink coloured solution for oral administration, contained in a clear glass vial fitted with a grey rubber closure, aluminum band and 25 such vials packed in a box.
MFG. DATE | MANUFACTURER | BHARAT Biotech International Ltd.
Jun. 2015
EXP. DATE: | ADDRESS | Genome Valley, Shameerpet Mandal, Ranga Reddy District - 500 078, Telangana, INDIA.
May 2017
CLIENT REF NO | CLIENT | Kenya Expanded Programme on Immunization
-
- | TEST(S) REQUESTED | Identification
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
Identification | HPLC | USP 38 NF 33 Page 3375 | RT of the Component Peaks in the assay sample preparation correspond to those in the assay standard preparation | NO Super-imposable peak at RT 6.0 & 8.0-/+ 10% min. present in the assay sample preparation | COMPLIES
CONCLUSION : | The sample complies with the specifications for the tests performed.
ANALYST: | MR. M. SANGALE |  | DATE: 12-04-2015
ANALYST: | DR. M. KWENA |  | DATE: 12-04-2015
ANALYST: | EMMANUEL TANUI |  | DATE: 05-09-2016
The sample complies with the specifications for the tests performed.