## COA
CERTIFICATE OF ANALYSIS
| CERTIFICATE No: |  | CAN/2016/
PRODUCT: | ADSORBED TETANUS VACCINE BP |  |  | REF NO: NDQD201605913
DATE RECEIVED | LABELCLAIM | Each dose of 0.5 mL contains Tetanus Toxoid >= 40 IU Adsorbed on Aluminium Phosphate (AlPO4) >= 1.5 mg, Preservative: Thiomersal BP 0.01% w/v.
06.05.2016
BATCH No. 11112A15 | PRESENTATION | A white coloured turbid suspension for intramuscular administration, contained in a 10 mL clear colourless glass vial with a green flip off cap and an aluminium band, packed on a rubber rack of 20 vials in a unit box.
MFG. DATE | MANUFACTURER | BIOLOGICAL E. Limited.
Not Indicated
EXP. DATE: | ADDRESS | Plot No. 1, S.P Biotech Park, Phase II, Kolthur Village, Shameerpet Mandal, R.R District (A.P.), INDIA.
Apr. 2018
CLIENT REF NO | CLIENT | Kenya Expanded Programme on Immunization
-
- | TEST(S) REQUESTED | Sterility & Identification
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
Sterility | Direct Innoculation | BP 2016 Vol. V App. XVI A | No microbial growth | No microbial growth | COMPLIES
Identification | HPLC | Adopted USP 38 NF 33 Page 3378 | No estrogen component peaks present in the sample preparation corresponding to those in the standard preparation | No Super-imposable peaks present in the sample preparation corresponding to those in the standard preparation
CONCLUSION : | No estrogen detected in the sample.
ANALYST: | MR. E. NGAMAU |  | DATE: 15-06-2016
ANALYST: | DR. E. MUTUA |  | DATE: 15-06-2016
ANALYST: | DR. N. MWAURA |  | DATE: 15-06-2016
ANALYST: | EMMANUEL TANUI |  | DATE: 06-16-2016
DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE: 06-22-2016