## COA
CERTIFICATE OF ANALYSIS
| CERTIFICATE No: |  | CAN/2016/
PRODUCT: | PTS165 SAMPLE A: MALEIC ACID |  |  | REF NO: NDQE201603777
DATE RECEIVED | LABELCLAIM | Maleic Acid 1700 mg.
01.04.2016
BATCH No. Not Indicated | PRESENTATION | A clear, colourless solution packed in an amber coloured glass bottle.
MFG. DATE | MANUFACTURER | EDQM.
Jan. 2008
EXP. DATE: | ADDRESS | DBO,OMCIL Network cs 30026-F67081, Strasbourg, FRANCE.
Feb. 2016
CLIENT REF NO | CLIENT | EDQM
-
- | TEST(S) REQUESTED | Assay
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
Assay | Titration | PA/PH/PTS (16) 1 (Proficiency Test Protocol) | 90.0 - 110.0% | Maleic Acid 103.6%, RSD=0.58%;n=3;SD=0.006)
CONCLUSION : | Proficiency test sample analysed as per protocol.
ANALYST: | DR. J. CHEPCHUMBA |  | DATE: 25-05-2016
ANALYST: | DR. E. TANUI |  | DATE: 25-05-2016
Proficiency test sample analysed as per protocol.