## COA
CERTIFICATE OF ANALYSIS
| CERTIFICATE No: |  | CAN/2015/
PRODUCT: | SALBUMOL SUSPENSION |  |  | REF NO: NQDQ201508057
DATE RECEIVED | LABELCLAIM | Salbutamol Sulphate equivalent to Salbutamol BP 2 mg and syrup base to 5 mL.
06.08.2015
BATCH No. 141695 | PRESENTATION | Pink coloured syrup for oral administration contained in a 100 mL amber coloured glass bottle packed along with a 2 mL Syringe with a dust cap and a 10 mL measuring cap in a unit box.
MFG. DATE | MANUFACTURER | REGAL Pharmaceuticals Ltd,
Oct.2014
EXP. DATE: | ADDRESS | Plot No.7879/18, Off Baba Dogo Road, Ruaraka, P.O BOX 44421-00100, Nairobi, KENYA
Sep.2017
CLIENT REF NO | CLIENT | Centrale Humanitaire Medico Pharmaceutique P.O. Box 10397 - 00400, Nairobi, Kenya
-
- | TEST(S) REQUESTED | pH, Microbial Load, Identification & Assay
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
pH | Acidity/Alkalinity | BP 2012, Vol V Appendix VL | - | 3.85
Microbial Load | Plate count | In House Method | Total Aerobic Microbial Count (TAMC) NMT 200 CFU/mL Total Combined Yeasts /Moulds Count (TYMC) NMT 20 CFU/mL | < 200 TAMC CFU Per ML < 20 TYMC CFU Per mL | COMPLIES COMPLIES
Identification | HPLC | BP 2012, Vol III, pg 3268 | RT of the major peak in the assay sample preparation corresponds to that in the assay standard preparation | Super-imposable peak at RT Value 9.2 Â± 10% min. present in both the assay sample and standard preparations | COMPLIES
Assay | HPLC | BP 2012, Vol III, pg 3268 | 90.0 % - 105.0 % | 101.4% (RSD = 0.4% ; n = 9) | COMPLIES
CONCLUSION : | The sample complies with the specifications of the tests perfomed.
ANALYST: | MR. F. NAULA |  | DATE: 08-12-2015
ANALYST: | DR. S. MWANGI |  | DATE: 08-25-2015
ANALYST: | DR. E. TANUI |  | DATE: 09-09-2015
ANALYST: | SERAH MUTERU |  | DATE: 10-07-2015
DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE: 10-09-2015