## SST
HPLC System Suitability Report
Analysis Data | Component 1 Assay
Sample(s)
Reference Substance:
% age Purity: | 99.3
Weight (mg): | #REF!
Standard Conc (mg/mL): | #REF!
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
____________________________________________________________________________________________________________________________________________________
Analysis Data | Component 2 Assay
Reference Substance:
% age Purity:
Weight (mg): | #REF!
Standard Conc (mg/mL): | #REF!
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
____________________________________________________________________________________________________________________________________________________
Analysis Data | Component 1 Dissolution
Reference Substance: | Component 1
% age Purity: | 99.3
Weight (mg): | #REF!
Standard Conc (mg/mL): | #REF!
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
____________________________________________________________________________________________________________________________________________________
Analysis Data | Component 2 Dissolution
Reference Substance: | Component 2
% age Purity: | 99.3
Weight (mg): | #REF!
Standard Conc (mg/mL): | #REF!
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## Uniformity
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | SAMPLE TABLETS
Laboratory Ref No:
Active Ingredient: |  | Component 1
Label Claim: |  | Each film coated tablet contains: Component 1
Date Analysis Started:
Date Analysis Completed:
Analysis Data |  | Uniformity of weight
|  | Tablet weight (mg) | % Deviation
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
| Total | 0
| Average | #DIV/0!
| Average | % Deviation from mean
| #DIV/0! | #DIV/0! | #DIV/0!
|  | #DIV/0! | #DIV/0!
| Name |  | Date | Signature
Analysed by:
Reviewed By:

## Component 1
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | SAMPLE TABLETS
Laboratory Ref No: |  | 24
Active Ingredient: | Component 1
Label Claim: | Each film coated tablet contains: Component 1
Date Analysis Started:
Date Analysis Completed:
Analysis Data
Reference Substance: | Component 1
Code:
% age Purity: | 99.3
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.3
Mwt of compound in free base form: | 704.9 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 802.9 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 0.87794 | free base
Initial Standard dilution | 100 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 | 62216550 | 163589409.2335 | 50749945 | 166153425.2712
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 62164205 | 163451775.6356 | 50929377 | 166740878.9404
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 62114549 | 163321212.3738 | 50916527 | 166698808.5201
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 62165101.3333 | 163454132.4143 | 50865283 | 166531037.5772
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 24.43 |  | 19.62
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 21.4481 |  | 17.2252
Standard Dilution Factor | 100 | Purity correction (mg): | 21.298 |  | 17.1047
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.21298 |  | 0.17105
|  | Desired Concetration (mg/mL): | 0.56
|  | Desired Weight as free base (mg): | 56
|  | Desired Weight as salt (mg): | 63.7855
|  | Average Normalised Response: | 164992584.9957
|  | RSD: | 1.03%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each film coated tablet contains: Component 1
Each Tablet contains | 300 | Component 1
Average Tablet Weight (mg): | 1974.369
Initial Sample dilution | 100 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL: | 4 | Assay Smp A | 1946.3 | 1 | 172085958 | 296.2495 | 98.75%
1st Dilution Sample Final Volume (mL): | 20 |  |  | 2 | 172987089 | 297.8008 | 99.27%
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 170902849 | 294.2127 | 98.07%
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 1990.18 | 1 | 180962969 | 304.6627 | 101.6%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 182210273 | 306.7626 | 102.3%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 182690907 | 307.5718 | 102.5%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 500 | Assay Smp C | 1980.25 | 1 | 176669666 | 298.9261 | 99.64%
Desired Sample Weight (mg): | 1842.7444 |  |  | 2 | 178224254 | 301.5565 | 100.5%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 176010631 | 297.811 | 99.27%
|  |  |  | 4 |  | - | -
[6 empty] | Average: | 100.2%
[6 empty] | RSD: | 1.587%
[6 empty] | n: | 9
Comment | The amount of | Component 1 |  | I the sample as a percentage of the stated label claim is |  | 100.2%
Analysis Data: | Determination of Active Ingredient Dissolved after |  | 45 Minutes
Reference Substance: | Component 1
Code: | 0
% age Purity: | 99.3
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.3
Mwt of compound in free base form: | 704.9 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 802.9 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 0.87794 | free base
Initial Standard dilution | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 | 39579342 | 42350494.2731 | 34381284 | 42314662.2039
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 39648486 | 42424479.3984 | 34375350 | 42307358.9511
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 39544972 | 42313717.8535 | 34360361 | 42288911.2843
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 39590933.3333 | 42362897.175 | 34372331.6667 | 42303644.1464
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 16.08 |  | 13.98
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 14.1173 |  | 12.2736
Standard Dilution Factor | 50 | Purity correction (mg): | 14.0185 |  | 12.1877
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.28037 |  | 0.24375
|  | Desired Concetration (mg/mL): | 0.3
|  | Desired Weight as free base (mg): | 15
|  | Desired Weight as salt (mg): | 17.0854
|  | Average Normalised Response: | 42333270.6607
|  | RSD: | 0.1156%
|  | n: | 6
| Determination of Active Ingredient Dissolved after |  | 45 Minutes
Medium Volume (mL): | 1000 | tablet No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 37387986 | 264.9546 | 88.32%
1st Dilution Sample Final Volume (mL): | 1 | 2 | 36715348 | 260.1879 | 86.73%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 42459439 | 300.8941 | 100.3%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 41668084 | 295.2861 | 98.43%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 30389424 | 215.3584 | 71.79%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 33629726 | 238.3212 | 79.44%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 87.5%
Sample Dilution Factor | 1000 |  |  | RSD: | 12.48%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 6
Comment | The amount of | Component 1 |  | dissolved as a percentage of the stated label claim is |  | 87.5%
Analysis Data: | Determination of Active Ingredient Dissolved after |  | 90 Minutes
Medium Volume (mL): | 1000 | tablet No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 42272373 | 299.5684 | 99.86%
1st Dilution Sample Final Volume (mL): | 1 | 2 | 43680633 | 309.5483 | 103.2%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 42390857 | 300.4081 | 100.1%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 42961098 | 304.4492 | 101.5%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 39759464 | 281.7604 | 93.92%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 38379841 | 271.9835 | 90.66%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 98.21%
Sample Dilution Factor | 1000 |  |  | RSD: | 4.931%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 6
Comment | The amount of | Component 1 |  | dissolved as a percentage of the stated label claim is |  | 98.21%
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0