## COA
CERTIFICATE OF ANALYSIS
CERTIFICATE No: CAN/2015/16
PRODUCT: | Prednisolone Tablets |  | REF NO: | MULTICOMP
DATE RECEIVED | LABELCLAIM | Predimisolone
2015-01-20
BATCH No. 122365 | PRESENTATION | What is the data
MFG. DATE | MANUFACTURER | MYLAN LABS LTD
1970-01-01
EXP. DATE: | ADDRESS | F-4 & F-12, MIDC, Malegaon, Sinnar, Nashik-422 113, Maharashtra, INDIA
1970-01-01
CLIENT REF NO | CLIENT | Chemonics Kenya Pharma LLC P.o Box 1325 00606 Nairobi, Kenya
| TEST(S) REQUESTED | Uniformity of Weight, pH, Identification, Dissolution, Assay
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
Uniformity of Weight | Weight | B.P. 2012 Vol .V App XII C | <= 2 tablets deviate by more than x% from mean weight | none deviates by more that 2 | COMPLIES
pH | Acidity/Alcalinity | compendia 3 | 6 | 6 | COMPLIES
Identification | HPLC | compendia of the data | RT of the major peaks in the sample preparation corresponds to those in the standard preparation | Super-imposable peaks at RT Values 4.5 ± 10% min. present in the sample preparation | COMPLIES
Dissolution | HPLC HPLC | compedia a compendia b | After 45 Mins | comp1 0.01%(RSD = 87.87% ; n = 6) comp2 0.05%(RSD = 153.75% ; n = 6) | COMPLIES COMPLIES
Assay | HPLC HPLC | MoA vol II comp 2 | spec ass 1 spec 2 | comp1 10.87% (RSD = 169.47% ; n = 9) comp2 0.19% (RSD = 169.47% ; n = 9) | COMPLIES COMPLIES
CONCLUSION: | The sample complies with the specifications of the tests perfomed.
ANALYST: | Mary Magda | ________________ | DATE: 01-20-2015
ANALYST: | Ernest Mbae | ________________ | DATE: 01-20-2015