## COA
CERTIFICATE OF ANALYSIS
CERTIFICATE No: CAN/2014/173
PRODUCT: | ABACAVIR SULFATE & LAMIVUDINE TABLETS |  | REF NO: | NDQD201405496
DATE RECEIVED | LABELCLAIM | ABACAVIR SULFATE 60mg & LAMIVUDINE 30mg TABLETS
2014-01-13
BATCH No. 3016480 | PRESENTATION | Light yellow coloured, circular shaped tablets, single cored
MFG. DATE | MANUFACTURER | MYLAN LABS LTD
2013-08-01
EXP. DATE: | ADDRESS | F-4 & F-12, MIDC, Malegaon, Sinnar, Nashik-422 113, Maharashtra, INDIA
2015-07-31
CLIENT REF NO | CLIENT | Chemonics Kenya Pharma LLc Po Box 1325-00606 Nairobi
| TEST(S) REQUESTED | Uniformity of Weight, Identification, Friability, Dissolution, Assay
RESULTS
TEST | METHOD | COMPENDIA | SPECIFICATION | DETERMINED | REMARKS
Uniformity of Weight | Weight | B.P. 2012 Vol .V App XII C | <= 2 tablets deviate by more than x% from mean weight | None Deviates | COMPLIES
Identification | HPLC | Adopted In-House Method | RT of the major peaks in the sample preparation corresponds to those in the standard preparation | Super-imposable peaks at RT Values 5.0, 21.1 +- 10% min. present in the sample preparation | COMPLIES
Friability |  | B.P 2012 |  | 0.02% | COMPLIES
Dissolution | HPLC | Adopted In-House Method |  | Abacavir 94% (Rsd = 3.8% ; n = 6) Lamivudine 100.9% (Rsd = 2.7% ; n = 6) | COMPLIES
Assay | HPLC | Adopted In-House Method | 95.0 - 105.0% | Abacavir 96% (Rsd = 0.6% ; n = 9) Lamivudine 99.3% (Rsd = 0.5% ; n = 9) | COMPLIES
CONCLUSION: | The sample complies with the specifications of the tests perfomed.
ANALYST | Mary Magda | ________________ | DATE: 05-05-2014
ANALYST: | Ernest Mbae | ________________ | DATE: 05-05-2014
ANALYST: | Dr. Hezekiah Chepkwony | ________________ | DATE: 05-05-2014