**CERTIFICATE OF ANALYSIS**

**CERTIFICATE No:** CAN/2016-2017/250

|  |  |  |  |
| --- | --- | --- | --- |
| **PRODUCT** | CEFTRIMED INJECTION 1 g I.M./I.V. | | **REF. NO: NDQA201509326** |
| **DATE RECEIVED:** 29-09-2016 | **LABEL CLAIM:** | Each vial contains: Ceftriaxone Sodium USP equivalent to Ceftriaxone 1000 mg. | |
| **BATCH NO.:** 658131102 | **PRESENTATION:** | Off white coloured, free flowing powder for intramuscular and intravenous administration, contained in a clear colourless glass vial fitted with a grey rubber closure, an aluminum band and a blue flip off cap, 50 such vials packed in a box. | |
| **MFG. DATE:** Nov. 2013 | **MANUFACTURER:** | CSPC ER YAO Pharmaceuticals Company Limited. | |
| **EXP. DATE:**  Nov. 2016 | **ADDRESS:** | Gongnong Rd, Shijia Zhuang City PRC | |
| **CLIENT REF NO:** | **CLIENT:** | Pharmacy and Poisons Board, P. O. Box 27663 - 00506 Nairobi, KENYA. | |
| CFT/07/11.03.2015/00153 | **TEST(S) REQUESTED:** | Uniformity of Weight, Sterility, Identification, Assay, Acidity/Alkalinity | |

**RESULTS**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **TEST** | **METHOD** | **COMPEDIA** | **SPECIFICATION** | **DETERMINED** | **REMARKS** |
| **Uniformity of Weight** | Weight | BP 2016 Vol. V App XII C | NMT 2 vials deviate by more than 10% from the mean vial weight | None Deviates | **COMPLIES** |
| **Sterility** | Membrane Filtration | BP Vol. V 2016 Appendix XVI A | No microbial growth | No microbial growth | **COMPLIES** |
| **Identification** | HPLC | USP 38 NF 33 Page 2705 | RT of the major peak in the sample preparation corresponds to that in the standard preparation | Super-imposable peak at RT 3.2 -/+ 10% min. present in both the assay sample and standard preparations | **COMPLIES** |
| **Acidity/Alkalinity** | pH | USP 38 NF 33 Page 2705 | 6.0 - 8.0 | 6.2 | **COMPLIES** |
| **Assay** | HPLC | USP 38 NF 33 Page 2705 | 90.0 - 115.0% | 94.0% (RSD = 1.7%; n = 6) | **COMPLIES** |

**CONCLUSION:** The sample complies with the specifications of the tests performed.

|  |  |  |  |
| --- | --- | --- | --- |
| **ANALYST:** | MR. F. NAULA | .......................................................... | DATE: 17-11-2016 |
| **ANALYST:** | MR. M. SANGALE | .......................................................... | DATE: 18-07-2016 |
| **ANALYST:** | DR. M. KWENA | .......................................................... | DATE: 27-07-2016 |
| **ANALYST:** | GEORGE WANG'ANG'A | .......................................................... | DATE: 11-09-2016 |
| **DIRECTOR:** | HEZEKIAH CHEPKWONY | .......................................................... | DATE: 11-15-2016 |