**CERTIFICATE OF ANALYSIS**

**CERTIFICATE No:**  CAN/2016-17/XYZ

|  |  |  |  |
| --- | --- | --- | --- |
| **PRODUCT** | SULFRAN-DS TABLETS | | REF. NO: NDQB201601648 |
| **DATE RECEIVED:** 12.01.2016 | **LABEL CLAIM:** | Each tablet contains: Sulphamethoxazole B.P. 800 mg, Trimethoprim B.P. 160 mg. | |
| **BATCH NO.:** 521595 | **PRESENTATION:** | White coloured, caplet shaped tablets, single scored on one face and plain on the other, packed in blister strips in a unit box containing 10 strips of 10 tablets each. | |
| **MGF. DATE:** Dec. 2015 | **MANUFACTURER:** | UNIVERSAL Corporation Ltd | |
| **EXP. DATE:** Nov. 2018 | **ADDRESS:** | Club Road, Plot No. 13777, P.O. BOX 1748-00902, Kikuyu KENYA. | |
| **CLIENT REF NO:** | **CLIENT:** | Kenya Medical Supplies Authority, P.O. Box 47715 - 00100, Nairobi, KENYA | |
|  | **TEST(S) REQUESTED:** | Uniformity of Weight, Identification, Dissolution, Assay | |

**RESULTS**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **TEST** | **METHOD** | **COMPEDIA** | **SPECIFICATION** | **DETERMINED** | **REMARKS** |
| **Uniformity of Weight** | Weight | BP 2016 Vol. V App XII C | NMT 2 tablets deviate by more than 5% from mean weight | None Deviates | **COMPLIES** |
| **Identification** | HPLC | USP 38 NF 33 Page 5399 | RT of component peaks in the sample assay preparation correspond to those in the standard assay preparation | Super-imposable peaks at RT 4.1 and 8.0 -/+ 10% min. present in both the assay sample and standard preparations | **COMPLIES** |
| **Dissolution** | HPLC:HPLC | USP 38 NF 33 Page 5399 | No tablet less than 75% [n=6] | Sulphamethoxazole 99.3% (RSD=0.5%; n=6) | **COMPLIES:COMPLIES** |
| **Dissolution** | HPLC:HPLC | USP 38 NF 33 Page 5399 | No tablet less than 75% [n=6] | Trimethoprim 100.7% (RSD=0.3%; n=6) | **COMPLIES:COMPLIES** |
| **Assay** | HPLC | USP 38 NF 33 Page 5399 | 93.0% - 107.0% | Sulphamethoxazole 98.6% (RSD=0.2%; n=9) | **COMPLIES:COMPLIES** |
| **Assay** | HPLC | USP 38 NF 33 Page 5399 | 93.0% - 107.0% | Trimethoprim 100.9% (RSD=0.4%; n=9) | **COMPLIES:COMPLIES** |

**CONCLUSION:** The product complies with the specifications for the tests performed.

|  |  |  |  |
| --- | --- | --- | --- |
| ANALYST: | MR. D. MOENGA |  | DATE:08-02-2016 |
| ANALYST: | DR. G. WANG'ANG'A |  | DATE:08-02-2016 |
| ANALYST: | NICHOLAS MWAURA |  | DATE:02-08-2016 |
| DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE:02-09-2016 |