**CERTIFICATE OF ANALYSIS**

**CERTIFICATE No:** CAN/2015-16/700

|  |  |  |  |
| --- | --- | --- | --- |
| **PRODUCT** | ANZAVIR-R TABLETS 300 mg/100 mg | | REF. NO: NDQB201602759 |
| **DATE RECEIVED:** 18.02.2016 | **LABEL CLAIM:** | Each film coated tablet contains: Atazanavir (as sulfate) equivalent to Atazanavir 300 mg and Ritonavir USP 100 mg. | |
| **BATCH NO.:** 3045260 | **PRESENTATION:** | Off white coloured, caplet shaped, biconvex faced tablets, embossed 'M777'on one face and plain on the other, packed in a white plastic multi-dose container carrying 30 tablets in a unit box. | |
| **MGF. DATE:** Jul. 2015 | **MANUFACTURER:** | MYLAN Laboratories Ltd. | |
| **EXP. DATE:**  Jun. 2017 | **ADDRESS:** | F-4 & F-12, MIDC, Malegaon, Sinnar, Nashik - 422 113, Maharashtra, INDIA. | |
| **CLIENT REF NO:** | **CLIENT:** | Kenya Medical Supplies Authority, P.O. Box 47715 - 00100, Nairobi, KENYA | |
|  | **TEST(S) REQUESTED:** | Uniformity of Weight, Identification, Dissolution, Assay | |

**RESULTS**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **TEST** | **METHOD** | **COMPEDIA** | **SPECIFICATION** | **DETERMINED** | **REMARKS** |
| **Uniformity of Weight** | Weight | BP 2016 Vol. V App XII C | NMT 2 tablets deviate by more than 5% from mean tablet weight | None Deviates | **COMPLIES** |
| **Identification** | HPLC | Manufacturer's In-House Method | RT of the component peaks in assay sample preparation correspond to those in the assay standard preparation | Super-imposable peaks at RT 5.1 & 7.1 -/+ 10% min. present in both the assay sample and standard preparations | **COMPLIES** |
| **Dissolution** | HPLC | Manufacturer's In-House Method | After 45 Minutes Atazanavir No Tablet Less than 50% Ritonavir No Tablet Less than 30% :After 90 Mins No Tablet Less than 80% [n=6] | Atazanavir 82.5% (RSD=21.9%, n=6) | **COMPLIES:COMPLIES:COMPLIES:COMPLIES** |
| **Dissolution** | HPLC | Manufacturer's In-House Method | After 45 Minutes Atazanavir No Tablet Less than 50% Ritonavir No Tablet Less than 30% :After 90 Mins No Tablet Less than 80% [n=6] | Ritonavir 61.5% (RSD=8.8%, n=6) | **COMPLIES:COMPLIES:COMPLIES:COMPLIES** |
| **Dissolution** | HPLC | Manufacturer's In-House Method | After 45 Minutes Atazanavir No Tablet Less than 50% Ritonavir No Tablet Less than 30% :After 90 Mins No Tablet Less than 80% [n=6] | Atazanavir 92.9% (RSD=8.3%, n=6) | **COMPLIES:COMPLIES:COMPLIES:COMPLIES** |
| **Dissolution** | HPLC | Manufacturer's In-House Method | After 45 Minutes Atazanavir No Tablet Less than 50% Ritonavir No Tablet Less than 30% :After 90 Mins No Tablet Less than 80% [n=6] | Ritonavir 95.2% (RSD=5.1%, n=6) | **COMPLIES:COMPLIES:COMPLIES:COMPLIES** |
| **Assay** | HPLC | Manufacturer's In-House Method | 95.0 -105.0% | Atazanavir 96.0% (RSD=1.8%, n=9) | **COMPLIES:COMPLIES** |
| **Assay** | HPLC | Manufacturer's In-House Method | 95.0 -105.0% | Ritonavir 98.3% (RSD=1.3%, n=9) | **COMPLIES:COMPLIES** |

**CONCLUSION:** The product complies with the specifications for the tests performed.

|  |  |  |  |
| --- | --- | --- | --- |
| ANALYST: | MR. K. BOTA |  | DATE:20-05-2016 |
| ANALYST: | DR. G. WANG'ANG'A |  | DATE:06-06-2016 |
| ANALYST: | EMMANUEL TANUI |  | DATE:06-07-2016 |
| DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE:06-10-2016 |