**CERTIFICATE OF ANALYSIS**

**CERTIFICATE No:** CAN/2015-16/623

|  |  |  |  |
| --- | --- | --- | --- |
| **PRODUCT** | GLEMONT(TM)-CT 5 CHEWABLE TABLETS | | REF. NO: NDQD201504203 |
| **DATE RECEIVED:** 23.04.2015 | **LABEL CLAIM:** | Each uncoated tablet contains: Montelukast Sodium equivalent to Montelukast 5mg | |
| **BATCH NO.:** 05141974 | **PRESENTATION:** | Off white coloured circular tablets embossed "G" on one face and "391" on the other, packed in an aluminium blister strip of 10 tablets and 10 such strips in a unit box. | |
| **MGF. DATE:** Dec.2014 | **MANUFACTURER:** | GLENMARK Pharmaceutical Ltd. | |
| **EXP. DATE:**  Nov.2016 | **ADDRESS:** | B/2, Mahalaxmi Chambers, 22, Bhulabhai Desai Road, Mumbai-400 026, At:Village:Kishanpura, Baddi Nalagarh Road, Dist.Solan,(H.P)-174 101 INDIA. | |
| **CLIENT REF NO:** | **CLIENT:** | Glenmark Pharmaceuticals (K) Ltd, P.O BOX 6915-00200 Nairobi, KENYA | |
|  | **TEST(S) REQUESTED:** | Uniformity of Weight, Identification, Dissolution, Assay | |

**RESULTS**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **TEST** | **METHOD** | **COMPEDIA** | **SPECIFICATION** | **DETERMINED** | **REMARKS** |
| **Uniformity of Weight** | Weight | BP 2016 Vol .V App XII C | < 2 tablets deviate by more than 5.0% from mean tablet weight | None Deviates | **COMPLIES** |
| **Identification** | HPLC | Adopted In-House Method | RT of the Major Peaks in the sample preparation corresponds to those in standard preparation | Super-imposable peak at RT Values | **COMPLIES** |
| **Identification** | HPLC | Adopted In-House Method | RT of the Major Peaks in the sample preparation corresponds to those in standard preparation | 10.8 Â± 10% min. present in the sample preparation | **COMPLIES** |
| **Dissolution** | HPLC | Adopted In-House Method | No tablet less than 80% [n=6] | 101.0% (RSD = 2.9%; n = 6) | **COMPLIES** |
| **Assay** | HPLC | Adopted In-House Method | 90.0 - 110.0% | 95.&% (RSD = 1.9%; n = 7) | **COMPLIES** |

**CONCLUSION:** The product complies with the specifications for the tests performed.

|  |  |  |  |
| --- | --- | --- | --- |
| ANALYST: | CLEMENT MWANGI |  | DATE:05-08-2015 |
| ANALYST: | COSMAS ROTICH |  | DATE:07-08-2015 |
| ANALYST: | LORNA WANGARI |  | DATE:08-03-2015 |
| ANALYST: | LORNA WANGARI |  | DATE:09-25-2015 |
| ANALYST: | ERNEST MBAE |  | DATE:12-21-2015 |
| DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE:05-10-2016 |