**CERTIFICATE OF ANALYSIS**

**CERTIFICATE No:**  CAN/2016-17/XYZ

|  |  |  |  |
| --- | --- | --- | --- |
| **PRODUCT** | MAALOXÃ‚Â® ORAL SUSPENSION SACHETS | | REF. NO: NDQD201505232 |
| **DATE RECEIVED:** 14.05.2015 | **LABEL CLAIM:** | Composition: Magnesium hydroxide 400 mg, Aluminium oxide 230 mg In hydrated aluminium hydroxide form 460 mg & Excipients (including sucrose and sorbitol) q.s.f. one sachet. | |
| **BATCH NO.:** 096 | **PRESENTATION:** | White coloured, viscous suspension for oral administration, contained in a 4.3 mL sachet and 20 such sachets packed in a box. | |
| **MGF. DATE:** Oct. 2013 | **MANUFACTURER:** | SANOFI-AVENTIS S.p.A | |
| **EXP. DATE:** Sep. 2016 | **ADDRESS:** | Viale Europa, 11 Â¬ Origgio (VA), ITALY. | |
| **CLIENT REF NO:** | **CLIENT:** | SANOFI AVENTIS PO BOX 20337 NAIROBI | |
| - | **TEST(S) REQUESTED:** | Microbial Load, Identification, Assay, Acidity/Alkalinity | |

**RESULTS**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **TEST** | **METHOD** | **COMPEDIA** | **SPECIFICATION** | **DETERMINED** | **REMARKS** |
| **Microbial Load** | Plate Count | BP 2016 Vol.V App. XVI B | Use old format sample analysed in may 2015 | Use old format sample analysed in may 2015 | **COMPLIES** |
| **Identification** | remove if confirmed? | remove if confirmed test was not done | remove if confirmed test was not done | Test A | **COMPLIES** |
| **Identification** | remove if confirmed? | remove if confirmed test was not done | remove if confirmed test was not done | remove if confirmed test was not done ??????? | **COMPLIES** |
| **Assay** | Titration:Titration | USP 38 NF 33 Vol.2 Page 2115 | 90.0 - 110.0% | Aluminium Hydroxide 106.7% (RSD = 1.1%, n=3) | **COMPLIES:COMPLIES** |
| **Assay** | Titration:Titration | USP 38 NF 33 Vol.2 Page 2115 | 90.0 - 110.0% | Magnesium Hydroxide; 93.1% (RSD = 1.8%, n=3) | **COMPLIES:COMPLIES** |
| **Acidity/Alkalinity** | pH | USP 38 NF 33 Vol.2 Page 2115 | 7.3 - 8.5 | 7.5 | **COMPLIES** |

**CONCLUSION:** The product complies with the specifications for the tests performed.

|  |  |  |  |
| --- | --- | --- | --- |
| ANALYST: | MR. F. NAULA |  | DATE:21-12-2015 |
| ANALYST: | DR. E. MUTUA |  | DATE:21-12-2015 |
| ANALYST: | DR. G. WANG'ANG'A |  | DATE:21-12-2015 |
| ANALYST: | ERNEST MBAE |  | DATE:12-23-2015 |
| DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE:01-15-2016 |