**CERTIFICATE OF ANALYSIS**

**CERTIFICATE No:**  CAN/2016-17/XYZ

|  |  |  |  |
| --- | --- | --- | --- |
| **PRODUCT** | Pregavalex 75 mg Capsules | | REF. NO: NDQD201507034 |
| **DATE RECEIVED:** 28.07.2015 | **LABEL CLAIM:** | Each Hard Gelatin Capsule contains: Pregabalin 75 mg. | |
| **BATCH NO.:** 505160 | **PRESENTATION:** | Hard gelatin capsules with a red coloured cap and an off white coloured body, filled with an off white powder, packed in a blister strip of 10 capsules and 3 such strips in a unit box. | |
| **MGF. DATE:** May.2015 | **MANUFACTURER:** | EVAPHARMA | |
| **EXP. DATE:** May.2017 | **ADDRESS:** | - | |
| **CLIENT REF NO:** | **CLIENT:** | Inkamed Pharmaceuticals Ltd. P.O BOX 60113-00200 | |
|  | **TEST(S) REQUESTED:** | Uniformity of Weight, Identification, Dissolution, Assay | |

**RESULTS**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **TEST** | **METHOD** | **COMPEDIA** | **SPECIFICATION** | **DETERMINED** | **REMARKS** |
| **Uniformity of Weight** | Weight | BP 2012 Vol .V App XII C | < 2 capsule contents deviate by more than 10% from mean capsule content weight | None Deviates | **COMPLIES** |
| **Identification** | HPLC | MANUFACTURER'S In-House Method | RT of the Major Peak in the sample preparation corresponds to that in the standard preparation | Super-imposable peak at RT 3.2 and 3.5 -/+ 10% min. present in both the assay sample and standard preparations | **COMPLIES** |
| **Dissolution** | HPLC | MANUFACTURER'S In-House Method | No capsule less than 75.0% [n=6] | 97.5% (RSD = 2.8%; n = 6) | **COMPLIES** |
| **Assay** | HPLC | MANUFACTURER'S In-House Method | 90-110% | 102.5% (RSD = 0.5%; n = 9) | **COMPLIES** |

**CONCLUSION:** The product complies with the specifications for the tests performed.

|  |  |  |  |
| --- | --- | --- | --- |
| ANALYST: | DR. L. WANGARI |  | DATE:12-11-2015 |
| ANALYST: | DR. S. MUTERU |  | DATE:25-11-2015 |
| ANALYST: | ERNEST MBAE |  | DATE:12-21-2015 |
| DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE:01-12-2016 |